## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
RS03AXBS-MJ03A | SN0023 | 3 | 2015-07-25 | 12:00 |  | 45.8201 | -129.7369 | 2608 | TN-313 | Did not change in deployment #3
RS03AXBS-LJ03A | SN0011 | 3 | 2015-07-25 | 12:00 |  | 45.8168 | -129.7541 | 2612 | TN-326 | Did not change in deployment #3 (Only HPIES)

## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
RS03AXBS-MJ03A-05-OBSBBA303 | SN0023 | 3 | T1076/T5CP3 |  |  | No calibration coefficient.
RS03AXBS-MJ03A-05-HYDLFA301 | SN0023 | 3 | 299463 |  |  | No calibration coefficient.
RS03AXBS-MJ03A-06-PRESTA301 | SN0023 | 3 | 5471540-0029 |  |  | No calibration coefficient.
RS03AXBS-MJ03A-12-VEL3DB301 | SN0023 | 3 | 10314 | CC_lat | 45.8202
RS03AXBS-MJ03A-12-VEL3DB301 | SN0023 | 3 | 10314 | CC_lon | -129.7366
RS03AXBS-LJ03A-05-HPIESA301 | SN0011 | 3 | 4 |  |  | No calibration coefficient.
RS03AXBS-LJ03A-09-HYDBBA302 | SN0011 | 3 | 1389 | CC_gain | 0
RS03AXBS-LJ03A-10-ADCPTE303 | SN0011 | 3 | 23443 | CC_lat | 45.8168
RS03AXBS-LJ03A-10-ADCPTE303 | SN0011 | 3 | 19224 | CC_lon | -129.7541
RS03AXBS-LJ03A-10-ADCPTE303 | SN0011 | 3 | 19224 | CC_scale_factor1 | 0.45
RS03AXBS-LJ03A-10-ADCPTE303 | SN0011 | 3 | 19224 | CC_scale_factor2 | 0.45
RS03AXBS-LJ03A-10-ADCPTE303 | SN0011 | 3 | 19224 | CC_scale_factor3 | 0.45
RS03AXBS-LJ03A-10-ADCPTE303 | SN0011 | 3 | 19224 | CC_scale_factor4 | 0.45
RS03AXBS-LJ03A-11-OPTAAC303 | SN0011 | 3 | 141 | CC_cwlngth | [401.20000000, 404.60000000, 408.20000000, 411.90000000, 415.70000000, 420.10000000, 424.40000000, 428.50000000, 432.50000000, 436.60000000, 440.70000000, 445.10000000, 449.90000000, 454.50000000, 458.90000000, 463.10000000, 467.30000000, 472.00000000, 476.80000000, 481.50000000, 485.90000000, 490.40000000, 494.60000000, 498.90000000, 503.50000000, 508.00000000, 512.80000000, 517.30000000, 522.00000000, 526.30000000, 530.40000000, 534.70000000, 538.90000000, 543.00000000, 547.30000000, 551.40000000, 555.70000000, 559.90000000, 564.00000000, 567.90000000, 571.70000000, 575.40000000, 579.30000000, 583.00000000, 587.10000000, 591.00000000, 595.00000000, 599.60000000, 603.80000000, 608.00000000, 612.30000000, 616.90000000, 621.00000000, 625.20000000, 629.50000000, 633.90000000, 637.80000000, 642.10000000, 646.40000000, 650.70000000, 655.20000000, 659.50000000, 663.90000000, 668.30000000, 672.60000000, 676.80000000, 680.90000000, 685.00000000, 688.90000000, 692.80000000, 696.50000000, 700.40000000, 704.10000000, 707.90000000, 711.50000000, 715.50000000, 718.90000000, 722.90000000, 726.20000000, 729.70000000, 732.60000000, 736.20000000, 739.70000000, 742.90000000, 745.90000000]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0011 | 3 | 141 | CC_ccwo | [ -2.54064800, -2.36686900, -2.20649800, -2.05701500, -1.91716800, -1.79409200, -1.67454500, -1.56177500, -1.45443400, -1.35636700, -1.26487000, -1.17570600, -1.09375500, -1.01942300, -0.94606500, -0.87818100, -0.80830700, -0.74454200, -0.68640400, -0.62866600, -0.57615500, -0.52522000, -0.47553900, -0.43115800, -0.38869000, -0.35047800, -0.31373300, -0.27880600, -0.24430800, -0.21100600, -0.17862300, -0.14783300, -0.11762700, -0.08740100, -0.05734600, -0.02946800, -0.00264000, 0.02189300, 0.04635100, 0.07211500, 0.09799900, 0.09804500, 0.10842300, 0.11476800, 0.11668100, 0.11464200, 0.10575000, 0.09741800, 0.09549500, 0.10280300, 0.11642200, 0.13293000, 0.14808100, 0.16219800, 0.17739700, 0.19163300, 0.20323900, 0.21419800, 0.22170200, 0.22409700, 0.22400400, 0.22360900, 0.22574200, 0.23229600, 0.23880300, 0.24186800, 0.24022300, 0.23087400, 0.21454700, 0.18740200, 0.14965200, 0.09884900, 0.03396200, -0.05070800, -0.15706000, -0.28679100, -0.44372200, -0.63033400, -0.84668100, -1.08342400, -1.31817500, -1.51928500, -1.66431800, -1.75582700, -1.78664300]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0011 | 3 | 141 | CC_tcal | 21.3
RS03AXBS-LJ03A-11-OPTAAC303 | SN0011 | 3 | 141 | CC_tbins | [ 1.76398100, 2.44445300, 3.44370100, 4.45112500, 5.48224100, 6.49604700, 7.48861100, 8.49558800, 9.49468700, 10.51242400, 11.52785700, 12.51555600, 13.49880000, 14.48195700, 15.47950000, 16.49359000, 17.49861100, 18.48361100, 19.49151500, 20.48193500, 21.47633300, 22.49064500, 23.50483900, 24.50419400, 25.50756800, 26.52976200, 27.53323900, 28.48109400, 29.50000000, 30.49634600, 31.49787200, 32.49731700, 33.50365900, 34.50200000, 35.48693900, 36.50653800, 37.67708000, 38.00357100]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0011 | 3 | 141 | CC_awlngth | [400.00000000, 403.90000000, 407.60000000, 410.70000000, 414.60000000, 418.30000000, 422.60000000, 426.90000000, 430.90000000, 434.80000000, 438.90000000, 443.20000000, 447.80000000, 452.20000000, 456.60000000, 460.80000000, 465.00000000, 469.80000000, 474.30000000, 479.00000000, 483.60000000, 487.80000000, 492.10000000, 496.50000000, 500.90000000, 505.20000000, 509.50000000, 514.20000000, 518.70000000, 523.20000000, 527.50000000, 531.70000000, 535.80000000, 540.10000000, 544.20000000, 548.30000000, 552.60000000, 556.90000000, 560.80000000, 565.00000000, 568.80000000, 572.70000000, 576.40000000, 580.50000000, 584.20000000, 588.30000000, 592.30000000, 596.20000000, 600.40000000, 604.80000000, 609.00000000, 613.50000000, 617.70000000, 622.00000000, 626.40000000, 630.50000000, 634.70000000, 638.70000000, 643.00000000, 647.30000000, 651.70000000, 656.00000000, 660.10000000, 664.60000000, 668.80000000, 673.10000000, 677.00000000, 681.40000000, 685.30000000, 689.40000000, 693.10000000, 697.00000000, 700.80000000, 704.40000000, 708.10000000, 711.80000000, 715.50000000, 719.30000000, 722.90000000, 726.40000000, 729.70000000, 733.10000000, 736.20000000, 739.70000000, 742.70000000]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0011 | 3 | 141 | CC_acwo | [ -5.61865200, -4.86543800, -4.28766100, -3.87553600, -3.59614500, -3.39616000, -3.24170400, -3.11095300, -2.99497300, -2.88813900, -2.78669700, -2.68732300, -2.59392300, -2.50374700, -2.41265300, -2.32474200, -2.23893500, -2.15971000, -2.08351400, -2.01052800, -1.93995900, -1.87190900, -1.80654900, -1.74472100, -1.68524200, -1.62926000, -1.57503200, -1.52142300, -1.46795300, -1.41505200, -1.36354500, -1.31330300, -1.26483600, -1.21791600, -1.17332800, -1.13135300, -1.09097100, -1.05240100, -1.01492500, -0.97881200, -0.94495100, -0.92047800, -0.89446200, -0.87159300, -0.85230900, -0.83797700, -0.82953500, -0.82429600, -0.81647600, -0.80006700, -0.77553100, -0.74683700, -0.71779600, -0.68876800, -0.66010400, -0.63212400, -0.60497400, -0.57890500, -0.55524400, -0.53530900, -0.51931800, -0.50588800, -0.49065400, -0.47161500, -0.45144300, -0.43289500, -0.41819800, -0.40968000, -0.40834200, -0.41663800, -0.43583300, -0.46717900, -0.51297300, -0.57735200, -0.66272300, -0.77104700, -0.90585800, -1.06952600, -1.26358400, -1.48479000, -1.71653900, -1.93166300, -2.10321000, -2.22106000, -2.29010900]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0011 | 3 | 141 | CC_tcarray | SheetRef:141_CC_tcarray
RS03AXBS-LJ03A-11-OPTAAC303 | SN0011 | 3 | 141 | CC_taarray | SheetRef:141_CC_taarray
RS03AXBS-LJ03A-12-CTDPFB301 | SN0011 | 3 | 16-50128 | CC_lat | 45.8168
RS03AXBS-LJ03A-12-CTDPFB301 | SN0011 | 3 | 16-50128 | CC_lon | -129.7541
RS03AXBS-LJ03A-12-DOSTAD301 | SN0011 | 3 | 475 | CC_lat | 45.8168
RS03AXBS-LJ03A-12-DOSTAD301 | SN0011 | 3 | 475 | CC_lon | -129.7541

## 141_CC_tcarray
0.057141 | 0.053593 | 0.049512 | 0.045683 | 0.041113 | 0.038054 | 0.037161 | 0.032985 | 0.031496 | 0.029881 | 0.029222 | 0.027197 | 0.025524 | 0.019938 | 0.021266 | 0.01815 | 0.014251 | 0.013395 | 0.009948 | 0.008933 | 0.006028 | 0.006511 | 0.003274 | 0.001861 | 0 | 0.000783 | -0.002581 | -0.004923 | -0.006648 | -0.007535 | -0.010734 | -0.013698 | -0.014891 | -0.016589 | -0.017599 | -0.018726 | -0.020027 | -0.020368
0.047687 | 0.042188 | 0.037729 | 0.035853 | 0.033198 | 0.030029 | 0.028451 | 0.02599 | 0.024153 | 0.022034 | 0.022206 | 0.020256 | 0.018719 | 0.015152 | 0.015536 | 0.01309 | 0.010393 | 0.009674 | 0.007726 | 0.005644 | 0.004349 | 0.003407 | 0.001359 | 0.000105 | 0 | -0.000454 | -0.002863 | -0.004042 | -0.005395 | -0.006819 | -0.008765 | -0.011126 | -0.011966 | -0.014194 | -0.01368 | -0.014405 | -0.015998 | -0.016889
0.033599 | 0.030179 | 0.026584 | 0.024806 | 0.02241 | 0.019577 | 0.018997 | 0.017117 | 0.015972 | 0.015141 | 0.01458 | 0.014153 | 0.012741 | 0.010282 | 0.010792 | 0.009111 | 0.007739 | 0.006019 | 0.004571 | 0.004151 | 0.002132 | 0.002501 | 0.001299 | 0.0002 | 0 | -0.000587 | -0.001569 | -0.001874 | -0.002992 | -0.003865 | -0.0062 | -0.00676 | -0.008115 | -0.009289 | -0.009258 | -0.009691 | -0.011229 | -0.011663
0.030313 | 0.026715 | 0.023475 | 0.020792 | 0.01794 | 0.016463 | 0.015549 | 0.013842 | 0.013005 | 0.012175 | 0.01179 | 0.010349 | 0.009551 | 0.007316 | 0.007889 | 0.006785 | 0.005069 | 0.005341 | 0.003794 | 0.003482 | 0.00205 | 0.001389 | 0.000331 | 0.001016 | 0 | 0.000349 | -0.000708 | -0.001542 | -0.001586 | -0.00283 | -0.003767 | -0.004803 | -0.005559 | -0.006104 | -0.006298 | -0.006853 | -0.008205 | -0.008619
0.024063 | 0.020866 | 0.01751 | 0.015846 | 0.014499 | 0.012725 | 0.011776 | 0.010256 | 0.009349 | 0.00819 | 0.008089 | 0.007573 | 0.006701 | 0.005268 | 0.005671 | 0.004527 | 0.003388 | 0.003482 | 0.002373 | 0.001792 | 0.000997 | 0.000754 | 0.000266 | -0.000241 | 0 | -0.000127 | -0.000489 | -0.000647 | -0.001219 | -0.001448 | -0.002589 | -0.003272 | -0.003951 | -0.004561 | -0.004439 | -0.005005 | -0.006175 | -0.006539
0.01804 | 0.016447 | 0.014334 | 0.013013 | 0.011253 | 0.009512 | 0.008779 | 0.007378 | 0.006859 | 0.006237 | 0.00625 | 0.005637 | 0.004851 | 0.003391 | 0.00374 | 0.003073 | 0.001663 | 0.001594 | 0.000933 | 0.001243 | 0.000683 | 0.000364 | -1.9e-05 | -0.000396 | 0 | 0.000409 | -0.000132 | -5.9e-05 | -0.000153 | -0.000358 | -0.001021 | -0.001175 | -0.00173 | -0.002231 | -0.002659 | -0.002652 | -0.003922 | -0.003621
0.013587 | 0.01233 | 0.011068 | 0.010254 | 0.009308 | 0.008602 | 0.008098 | 0.007108 | 0.006358 | 0.005192 | 0.005685 | 0.004527 | 0.003919 | 0.002232 | 0.002887 | 0.002125 | 0.001501 | 0.001371 | 0.00095 | 0.001242 | 0.000316 | 0.000103 | 0.000199 | -8.1e-05 | 0 | 0.000461 | 5.9e-05 | 1.9e-05 | -6.1e-05 | 1.2e-05 | -0.000741 | -0.001071 | -0.001596 | -0.002001 | -0.001986 | -0.001949 | -0.003113 | -0.00336
0.008265 | 0.006669 | 0.006344 | 0.006332 | 0.005667 | 0.005349 | 0.004973 | 0.004389 | 0.003569 | 0.003188 | 0.002915 | 0.003138 | 0.002941 | 0.002151 | 0.002272 | 0.001542 | 0.001154 | 0.000942 | 0.000107 | 0.000144 | -8.4e-05 | 3e-05 | -0.000209 | -8.8e-05 | 0 | 0.000707 | 0.000362 | 0.000803 | 0.000996 | 0.000841 | 0.000471 | 8.3e-05 | 9.3e-05 | -0.000278 | -2.1e-05 | -0.00032 | -0.001142 | -0.001837
0.004175 | 0.003542 | 0.003112 | 0.002904 | 0.002576 | 0.002068 | 0.001759 | 0.001283 | 0.001478 | 0.001309 | 0.001538 | 0.001475 | 0.001454 | 0.000714 | 0.000805 | 0.000668 | 0.000158 | -0.000122 | -0.000163 | -0.000203 | -0.00058 | -0.000513 | 3.4e-05 | -0.000436 | 0 | 0.000465 | 0.000383 | 0.000652 | 0.000937 | 0.000862 | 0.000299 | 0.00041 | 7.8e-05 | 5.8e-05 | 4.2e-05 | -1.3e-05 | -0.000728 | -0.001578
0.004044 | 0.00267 | 0.001967 | 0.002049 | 0.001695 | 0.001423 | 0.001596 | 0.001364 | 0.001006 | 0.000563 | 0.000896 | 0.000565 | 0.0004 | -0.0001 | 0.00044 | 0.00016 | 0.0001 | 0.00036 | -5.4e-05 | 2.2e-05 | -0.000398 | -0.000265 | -0.000443 | -8.4e-05 | 0 | 0.000292 | 0.000305 | 0.000525 | 0.000748 | 0.000778 | 0.000439 | 0.000517 | 0.000285 | 0.000223 | 0.000323 | 0.000404 | -0.000546 | -0.001
0.001719 | 0.000907 | 0.000708 | 0.000931 | 0.000969 | 0.000679 | 0.000405 | -0.000248 | -0.000401 | -0.000557 | -0.000326 | -4.6e-05 | -0.000286 | -3.5e-05 | 2.6e-05 | -0.000407 | -0.000327 | -0.000416 | -0.000612 | -0.00067 | -0.00063 | -0.000454 | -0.000244 | 0.000141 | 0 | 0.000518 | 0.000707 | 0.001058 | 0.001155 | 0.001273 | 0.000937 | 0.000904 | 0.000992 | 0.000869 | 0.00124 | 0.001031 | 0.000265 | -0.000163
0.001455 | 0.001082 | 0.000738 | 0.000716 | 0.000652 | 0.000438 | 0.00045 | 0.00045 | 0.000408 | 0.000231 | 0.000377 | 0.000169 | 0.000355 | -0.00059 | -0.000371 | -0.000435 | -0.000855 | -0.000527 | -0.000792 | -0.000684 | -0.000788 | -0.000474 | -0.000619 | -0.000255 | 0 | 0.000588 | 0.00048 | 0.000916 | 0.001179 | 0.001076 | 0.000863 | 0.000985 | 0.000929 | 0.001035 | 0.00127 | 0.001158 | 0.000461 | -0.000132
0.001579 | 0.000765 | 0.000404 | 0.00066 | 0.00066 | 0.000671 | 0.000532 | 0.000222 | -0.000236 | -0.00055 | -0.000596 | -0.00073 | -0.000904 | -0.000863 | -0.000473 | -0.000533 | -0.000637 | -0.000618 | -0.000768 | -0.000692 | -0.000693 | -0.000899 | -0.000447 | -0.000199 | 0 | 0.000303 | 0.000297 | 0.000719 | 0.001047 | 0.001021 | 0.000927 | 0.000832 | 0.000924 | 0.000987 | 0.00115 | 0.001272 | 0.000622 | 0.000105
0.0004 | 0.000161 | 7.1e-05 | 0.000221 | -6.2e-05 | -0.000239 | -0.000342 | -0.000724 | -0.000859 | -0.000858 | -0.000748 | -0.000624 | -0.000633 | -0.00063 | -0.000696 | -0.000929 | -0.001033 | -0.001178 | -0.001108 | -0.001075 | -0.000982 | -0.000564 | -0.00053 | -0.000452 | 0 | 0.000277 | 0.000643 | 0.001126 | 0.001441 | 0.001462 | 0.001365 | 0.001533 | 0.00167 | 0.001731 | 0.001995 | 0.001961 | 0.001409 | 0.00087
0.002398 | 0.002003 | 0.001475 | 0.001426 | 0.001285 | 0.001131 | 0.000994 | 0.000961 | 0.000786 | 0.000364 | 0.000182 | -0.000299 | -0.000397 | -0.000956 | -0.000706 | -0.00083 | -0.000932 | -0.000745 | -0.000808 | -0.000772 | -0.000772 | -0.000524 | -0.000525 | -0.000145 | 0 | 0.000523 | 0.000759 | 0.001188 | 0.001562 | 0.001848 | 0.001691 | 0.001889 | 0.001924 | 0.002211 | 0.00235 | 0.002477 | 0.001831 | 0.001214
0.002403 | 0.001505 | 0.001106 | 0.000988 | 0.000927 | 0.000823 | 0.000649 | 0.000262 | -0.000215 | -0.000499 | -0.000746 | -0.000897 | -0.00095 | -0.00092 | -0.000767 | -0.000902 | -0.000943 | -0.000906 | -0.001276 | -0.00097 | -0.000961 | -0.000843 | -0.000632 | -0.000208 | 0 | 0.000467 | 0.000656 | 0.001141 | 0.001598 | 0.001563 | 0.001698 | 0.001659 | 0.001902 | 0.002043 | 0.002236 | 0.002207 | 0.001724 | 0.001267
0.001648 | 0.001385 | 0.000957 | 0.000778 | 0.000395 | 9e-05 | -0.000108 | -0.000399 | -0.000417 | -0.000618 | -0.000534 | -0.000734 | -0.000919 | -0.001109 | -0.001214 | -0.00141 | -0.001497 | -0.001474 | -0.00154 | -0.001392 | -0.001168 | -0.00086 | -0.000607 | -0.000249 | 0 | 0.000408 | 0.000752 | 0.001328 | 0.001629 | 0.00189 | 0.001753 | 0.00203 | 0.002091 | 0.002325 | 0.00257 | 0.002578 | 0.002118 | 0.001727
0.002896 | 0.001813 | 0.000894 | 0.000504 | 0.000351 | 0.000322 | 0.000195 | 6e-06 | -0.000109 | -0.000634 | -0.000914 | -0.001364 | -0.001359 | -0.001715 | -0.001364 | -0.001264 | -0.001185 | -0.000975 | -0.001098 | -0.000926 | -0.000818 | -0.000694 | -0.000525 | -0.000335 | 0 | 0.000538 | 0.000721 | 0.001153 | 0.001573 | 0.001803 | 0.001735 | 0.001888 | 0.00207 | 0.002302 | 0.002551 | 0.002628 | 0.00211 | 0.001488
0.002214 | 0.001501 | 0.000929 | 0.000787 | 0.000641 | 0.000417 | 0.000142 | -0.000286 | -0.000757 | -0.000886 | -0.00115 | -0.001118 | -0.001287 | -0.001013 | -0.000941 | -0.001043 | -0.001055 | -0.000965 | -0.001177 | -0.001084 | -0.000807 | -0.00076 | -0.000433 | -0.000119 | 0 | 0.000413 | 0.000604 | 0.00114 | 0.001467 | 0.001574 | 0.001581 | 0.001572 | 0.001858 | 0.002014 | 0.002261 | 0.00245 | 0.001868 | 0.001476
0.001795 | 0.001303 | 0.000658 | 0.000414 | 0.000157 | -4.8e-05 | -0.000183 | -0.000296 | -0.000284 | -0.000564 | -0.000593 | -0.000944 | -0.001067 | -0.001331 | -0.001362 | -0.001393 | -0.001461 | -0.00135 | -0.001261 | -0.001214 | -0.000988 | -0.0008 | -0.000533 | -0.000206 | 0 | 0.000421 | 0.00071 | 0.001298 | 0.001574 | 0.001755 | 0.001779 | 0.00198 | 0.00213 | 0.002351 | 0.002585 | 0.002529 | 0.002224 | 0.001686
0.002417 | 0.001401 | 0.000595 | 0.000441 | 0.000388 | 0.000369 | 0.000264 | 0.000102 | -0.000152 | -0.00061 | -0.001007 | -0.001363 | -0.001362 | -0.001502 | -0.001108 | -0.000984 | -0.000969 | -0.00085 | -0.000926 | -0.000788 | -0.000658 | -0.000577 | -0.000482 | -0.000196 | 0 | 0.000368 | 0.000553 | 0.000934 | 0.001307 | 0.001413 | 0.00143 | 0.001501 | 0.001715 | 0.001886 | 0.002185 | 0.002263 | 0.001853 | 0.001292
0.002013 | 0.001539 | 0.001081 | 0.000891 | 0.000713 | 0.000504 | 0.00026 | -0.000105 | -0.000447 | -0.000566 | -0.000768 | -0.000751 | -0.000901 | -0.000711 | -0.000853 | -0.000986 | -0.000996 | -0.000938 | -0.001153 | -0.000975 | -0.000879 | -0.000767 | -0.000475 | -0.000153 | 0 | 0.000337 | 0.000551 | 0.001032 | 0.00123 | 0.001325 | 0.001358 | 0.001425 | 0.001587 | 0.001751 | 0.002007 | 0.002041 | 0.001633 | 0.001223
0.002298 | 0.00169 | 0.000973 | 0.000756 | 0.000617 | 0.000492 | 0.000465 | 0.000317 | 0.000289 | -4.7e-05 | -0.000286 | -0.000786 | -0.000902 | -0.001165 | -0.00106 | -0.001019 | -0.000969 | -0.000907 | -0.000906 | -0.000892 | -0.000759 | -0.000588 | -0.000453 | -0.000259 | 0 | 0.000278 | 0.000487 | 0.000911 | 0.001189 | 0.001299 | 0.001263 | 0.001489 | 0.001571 | 0.001815 | 0.002031 | 0.00203 | 0.001738 | 0.001254
0.003008 | 0.002067 | 0.001423 | 0.001204 | 0.001121 | 0.001099 | 0.000825 | 0.000648 | 0.000285 | -0.000183 | -0.000584 | -0.000811 | -0.00082 | -0.000842 | -0.000606 | -0.000589 | -0.000553 | -0.000533 | -0.000712 | -0.000655 | -0.000509 | -0.000517 | -0.000394 | -0.00011 | 0 | 0.000298 | 0.000463 | 0.000775 | 0.001087 | 0.001181 | 0.001209 | 0.001219 | 0.001358 | 0.001553 | 0.001775 | 0.001898 | 0.001544 | 0.001124
0.002186 | 0.001806 | 0.001326 | 0.001175 | 0.001077 | 0.000893 | 0.000688 | 0.000508 | 0.000279 | 0.000156 | 3.4e-05 | -0.000166 | -0.000325 | -0.000361 | -0.000497 | -0.000578 | -0.000687 | -0.000714 | -0.000864 | -0.000721 | -0.000682 | -0.000565 | -0.000375 | -0.000137 | 0 | 0.00026 | 0.000391 | 0.000805 | 0.000965 | 0.001049 | 0.000977 | 0.001095 | 0.001186 | 0.001321 | 0.001524 | 0.001499 | 0.001206 | 0.000896
0.002934 | 0.002165 | 0.001437 | 0.00122 | 0.00115 | 0.001147 | 0.001018 | 0.000921 | 0.000817 | 0.000374 | -7.4e-05 | -0.000533 | -0.000615 | -0.000853 | -0.000646 | -0.000554 | -0.000555 | -0.000551 | -0.000607 | -0.000581 | -0.000473 | -0.000423 | -0.000333 | -0.000134 | 0 | 0.000192 | 0.000342 | 0.000657 | 0.000877 | 0.001004 | 0.000923 | 0.001029 | 0.001061 | 0.001263 | 0.001422 | 0.001429 | 0.00124 | 0.00077
0.002968 | 0.002249 | 0.001736 | 0.001584 | 0.001585 | 0.001541 | 0.001322 | 0.001088 | 0.000749 | 0.000407 | 2.1e-05 | -0.000215 | -0.00019 | -0.000165 | -0.00014 | -0.000112 | -0.000258 | -0.000315 | -0.000455 | -0.000442 | -0.000391 | -0.000446 | -0.000273 | -8.6e-05 | 0 | 0.000188 | 0.000234 | 0.000542 | 0.000738 | 0.000731 | 0.000722 | 0.000712 | 0.000834 | 0.000923 | 0.0011 | 0.001109 | 0.000843 | 0.000512
0.00273 | 0.00233 | 0.001788 | 0.001634 | 0.001497 | 0.001386 | 0.001307 | 0.001103 | 0.000974 | 0.000748 | 0.000518 | 0.000129 | -0.000115 | -0.000175 | -0.000255 | -0.000353 | -0.000415 | -0.000429 | -0.000566 | -0.000504 | -0.00042 | -0.000377 | -0.000246 | -9.2e-05 | 0 | 0.000183 | 0.000267 | 0.000595 | 0.000692 | 0.000711 | 0.000626 | 0.000626 | 0.000658 | 0.000804 | 0.000897 | 0.000841 | 0.000676 | 0.000327
0.003614 | 0.002777 | 0.00208 | 0.0019 | 0.001934 | 0.00202 | 0.001835 | 0.001689 | 0.00154 | 0.001097 | 0.000633 | 0.000176 | 0.00014 | -2.2e-05 | 0.000163 | 0.000149 | 0.000105 | 9e-06 | -0.000152 | -0.00023 | -0.000218 | -0.000214 | -0.000194 | -5.3e-05 | 0 | 0.000183 | 0.000193 | 0.000381 | 0.000592 | 0.000497 | 0.00038 | 0.000356 | 0.000405 | 0.000498 | 0.000588 | 0.000579 | 0.000415 | -1.1e-05
0.003063 | 0.002582 | 0.002204 | 0.002173 | 0.002163 | 0.002102 | 0.001941 | 0.001724 | 0.001355 | 0.001058 | 0.000726 | 0.000558 | 0.000478 | 0.000473 | 0.000398 | 0.000316 | 0.000102 | 7e-06 | -0.000216 | -0.000219 | -0.00027 | -0.000325 | -0.000173 | -1.1e-05 | 0 | 8.3e-05 | 7.5e-05 | 0.000266 | 0.000366 | 0.000246 | 0.000126 | 0 | 3e-05 | 1.4e-05 | 0.000125 | 0.000124 | -7.9e-05 | -0.000402
0.002673 | 0.002289 | 0.001799 | 0.001729 | 0.001722 | 0.001675 | 0.00165 | 0.00155 | 0.001533 | 0.001239 | 0.000942 | 0.00045 | 0.000309 | 0.000124 | 6.8e-05 | 2.3e-05 | -9.1e-05 | -0.000184 | -0.000305 | -0.000315 | -0.000284 | -0.000327 | -0.000214 | -5.8e-05 | 0 | 4.8e-05 | 3.1e-05 | 0.000218 | 0.00023 | 0.000126 | -9e-05 | -0.000164 | -0.000205 | -0.000133 | -0.000132 | -0.000186 | -0.000297 | -0.000563
0.003589 | 0.002833 | 0.002277 | 0.002198 | 0.002253 | 0.002394 | 0.002202 | 0.002065 | 0.001797 | 0.001393 | 0.000856 | 0.000499 | 0.000509 | 0.00036 | 0.000468 | 0.000467 | 0.000388 | 0.000254 | 4e-06 | -4.1e-05 | -7e-05 | -0.000176 | -0.000122 | -5e-06 | 0 | 0.000115 | 7.1e-05 | 0.000132 | 0.000216 | 6.4e-05 | -0.000197 | -0.000311 | -0.000327 | -0.000316 | -0.000209 | -0.000271 | -0.00041 | -0.000814
0.002824 | 0.002511 | 0.002196 | 0.002157 | 0.002176 | 0.002115 | 0.002019 | 0.001841 | 0.001622 | 0.001355 | 0.00109 | 0.000814 | 0.000662 | 0.000635 | 0.000393 | 0.000276 | 8.5e-05 | -2e-06 | -0.000259 | -0.000242 | -0.000256 | -0.00029 | -0.000213 | -4e-06 | 0 | 3.9e-05 | -5.8e-05 | 9.3e-05 | 1.9e-05 | -0.000171 | -0.000392 | -0.000544 | -0.000651 | -0.000649 | -0.000603 | -0.000663 | -0.000792 | -0.001005
0.003427 | 0.002886 | 0.002328 | 0.002271 | 0.002319 | 0.002343 | 0.002296 | 0.002193 | 0.002147 | 0.001753 | 0.001281 | 0.0007 | 0.000554 | 0.000296 | 0.000315 | 0.000262 | 0.000162 | 1e-06 | -0.000133 | -0.000236 | -0.000215 | -0.000239 | -0.000149 | -2.8e-05 | 0 | 0 | -4e-05 | 4.2e-05 | -8e-06 | -0.000236 | -0.000578 | -0.000732 | -0.000805 | -0.000763 | -0.000795 | -0.000855 | -0.000877 | -0.001224
0.003426 | 0.002871 | 0.002482 | 0.002482 | 0.002552 | 0.002621 | 0.002444 | 0.002318 | 0.002029 | 0.00161 | 0.001101 | 0.000787 | 0.000771 | 0.000638 | 0.000625 | 0.000576 | 0.000348 | 0.00018 | -6.6e-05 | -0.000109 | -0.000115 | -0.000199 | -0.000123 | 3e-06 | 0 | 9.7e-05 | -2.2e-05 | -2.1e-05 | -3.7e-05 | -0.000305 | -0.000622 | -0.000891 | -0.000963 | -0.000978 | -0.000876 | -0.000926 | -0.001003 | -0.001292
0.002798 | 0.002561 | 0.002245 | 0.002259 | 0.002306 | 0.002287 | 0.002231 | 0.002109 | 0.001913 | 0.001664 | 0.001301 | 0.000869 | 0.00064 | 0.000478 | 0.000246 | 0.000153 | -6.6e-05 | -0.000162 | -0.000311 | -0.000289 | -0.000303 | -0.000302 | -0.000166 | -8e-06 | 0 | -2.1e-05 | -0.000115 | -6.9e-05 | -0.000213 | -0.000506 | -0.000835 | -0.001089 | -0.00121 | -0.001179 | -0.001146 | -0.001164 | -0.001218 | -0.001446
0.003317 | 0.002744 | 0.002249 | 0.002224 | 0.002361 | 0.002466 | 0.002379 | 0.002238 | 0.002092 | 0.001672 | 0.001136 | 0.000535 | 0.000427 | 0.000131 | 0.00017 | 0.000114 | 3.2e-05 | -0.000125 | -0.00026 | -0.000324 | -0.000264 | -0.00027 | -0.0002 | -2.6e-05 | 0 | -1e-05 | -0.000112 | -9.2e-05 | -0.000191 | -0.000474 | -0.000891 | -0.00116 | -0.001217 | -0.001134 | -0.001096 | -0.001156 | -0.001118 | -0.001365
0.003197 | 0.002788 | 0.002443 | 0.002476 | 0.002545 | 0.00258 | 0.002441 | 0.002292 | 0.001993 | 0.001606 | 0.001155 | 0.000754 | 0.000621 | 0.000411 | 0.000267 | 0.000187 | 3.5e-05 | -8.6e-05 | -0.000324 | -0.000293 | -0.000243 | -0.000276 | -0.000175 | 1.1e-05 | 0 | 3.7e-05 | -9e-05 | -0.000127 | -0.000233 | -0.000549 | -0.000948 | -0.001209 | -0.00133 | -0.001298 | -0.001173 | -0.001192 | -0.001209 | -0.001458
0.002864 | 0.0025 | 0.00207 | 0.002083 | 0.002118 | 0.002117 | 0.002082 | 0.001977 | 0.001799 | 0.001439 | 0.001024 | 0.000464 | 0.00021 | -5e-05 | -0.000175 | -0.000225 | -0.000321 | -0.000425 | -0.0005 | -0.000467 | -0.000391 | -0.000363 | -0.000198 | -2.7e-05 | 0 | -5.3e-05 | -0.000147 | -0.000112 | -0.000276 | -0.000575 | -0.000985 | -0.001219 | -0.001326 | -0.00125 | -0.001178 | -0.001209 | -0.001187 | -0.001358
0.003184 | 0.002611 | 0.002134 | 0.002148 | 0.002263 | 0.002359 | 0.002207 | 0.002069 | 0.00187 | 0.001428 | 0.000824 | 0.0003 | 0.000153 | -0.000169 | -9.6e-05 | -0.000127 | -0.000156 | -0.000318 | -0.000404 | -0.000442 | -0.000316 | -0.000277 | -0.000239 | -3.1e-05 | 0 | 4.5e-05 | -4e-05 | -8e-05 | -0.000129 | -0.000428 | -0.00081 | -0.001012 | -0.001103 | -0.000979 | -0.000903 | -0.000915 | -0.000842 | -0.001088
0.002663 | 0.002271 | 0.001917 | 0.001942 | 0.001985 | 0.001978 | 0.001873 | 0.001731 | 0.001463 | 0.001158 | 0.000692 | 0.000221 | 5.3e-05 | -0.000191 | -0.000311 | -0.000366 | -0.000468 | -0.000484 | -0.000567 | -0.000494 | -0.00044 | -0.000405 | -0.000259 | -6.4e-05 | 0 | 2e-05 | -9.9e-05 | -6.4e-05 | -0.000129 | -0.000392 | -0.000695 | -0.000938 | -0.001009 | -0.000918 | -0.000736 | -0.000792 | -0.000737 | -0.00091
-0.000298 | -0.000606 | -0.000919 | -0.000861 | -0.000746 | -0.000696 | -0.000683 | -0.000614 | -0.000695 | -0.00094 | -0.001305 | -0.001732 | -0.001797 | -0.002028 | -0.001991 | -0.001876 | -0.001867 | -0.001823 | -0.001799 | -0.001535 | -0.001327 | -0.001036 | -0.000721 | -0.000285 | 0 | 0.000321 | 0.000593 | 0.001004 | 0.00131 | 0.001466 | 0.001524 | 0.001636 | 0.001729 | 0.001901 | 0.002085 | 0.002137 | 0.002331 | 0.002223
-3.4e-05 | -0.000572 | -0.00096 | -0.000923 | -0.000749 | -0.000586 | -0.000585 | -0.000608 | -0.000742 | -0.001026 | -0.001467 | -0.001988 | -0.002029 | -0.002119 | -0.001987 | -0.001811 | -0.001783 | -0.001742 | -0.001704 | -0.001489 | -0.001238 | -0.001047 | -0.00072 | -0.000282 | 0 | 0.000253 | 0.000458 | 0.000867 | 0.00116 | 0.00125 | 0.001271 | 0.001334 | 0.001483 | 0.001682 | 0.001902 | 0.001945 | 0.002142 | 0.002017
0.000291 | -8.4e-05 | -0.000435 | -0.000393 | -0.000242 | -0.00017 | -0.000266 | -0.000323 | -0.000452 | -0.000675 | -0.001102 | -0.001482 | -0.001542 | -0.00167 | -0.001677 | -0.001605 | -0.001578 | -0.001592 | -0.001574 | -0.0014 | -0.00115 | -0.00092 | -0.000641 | -0.000249 | 0 | 0.000272 | 0.000495 | 0.000832 | 0.001146 | 0.001197 | 0.001208 | 0.001277 | 0.00137 | 0.001564 | 0.001749 | 0.001785 | 0.001992 | 0.001876
0.000437 | 1.5e-05 | -0.000342 | -0.000348 | -0.000249 | -0.000148 | -9.9e-05 | -0.000104 | -0.000178 | -0.000466 | -0.000879 | -0.001405 | -0.001518 | -0.001724 | -0.00167 | -0.001588 | -0.001571 | -0.001575 | -0.001515 | -0.001296 | -0.001111 | -0.000884 | -0.00059 | -0.000204 | 0 | 0.000239 | 0.000417 | 0.000718 | 0.000957 | 0.001037 | 0.001007 | 0.001046 | 0.001109 | 0.001353 | 0.001531 | 0.00159 | 0.001837 | 0.001756
0.000942 | 0.000401 | -2.2e-05 | 1.7e-05 | 0.000188 | 0.000284 | 0.000203 | 0.000134 | -1.4e-05 | -0.00033 | -0.000799 | -0.001324 | -0.001395 | -0.001512 | -0.001452 | -0.001324 | -0.001256 | -0.001295 | -0.001293 | -0.001156 | -0.000957 | -0.000805 | -0.000552 | -0.000214 | 0 | 0.000184 | 0.00033 | 0.000617 | 0.000836 | 0.000854 | 0.000809 | 0.000813 | 0.00095 | 0.001212 | 0.001425 | 0.001473 | 0.001695 | 0.001639
0.001106 | 0.00077 | 0.000444 | 0.000451 | 0.000527 | 0.000559 | 0.000466 | 0.000416 | 0.000286 | 3.2e-05 | -0.000423 | -0.000915 | -0.000993 | -0.001244 | -0.001231 | -0.0012 | -0.001228 | -0.001284 | -0.001266 | -0.00112 | -0.000927 | -0.000759 | -0.000549 | -0.000186 | 0 | 0.000181 | 0.000333 | 0.000608 | 0.000837 | 0.000857 | 0.000786 | 0.000856 | 0.000957 | 0.001207 | 0.001408 | 0.001469 | 0.001733 | 0.001668
0.001692 | 0.001099 | 0.000505 | 0.00043 | 0.000483 | 0.000554 | 0.000495 | 0.000434 | 0.000291 | -4.1e-05 | -0.000548 | -0.00112 | -0.00122 | -0.001419 | -0.001348 | -0.001207 | -0.001158 | -0.001143 | -0.001144 | -0.000947 | -0.000796 | -0.000679 | -0.000488 | -0.000185 | 0 | 0.000148 | 0.000257 | 0.000509 | 0.000715 | 0.00074 | 0.000687 | 0.000731 | 0.000886 | 0.001175 | 0.001422 | 0.001468 | 0.001745 | 0.00171
0.002181 | 0.001649 | 0.001134 | 0.001101 | 0.001221 | 0.001257 | 0.001135 | 0.001064 | 0.000884 | 0.000618 | 7.8e-05 | -0.000469 | -0.000641 | -0.00088 | -0.000913 | -0.000843 | -0.000851 | -0.000951 | -0.001002 | -0.0009 | -0.000742 | -0.000643 | -0.000466 | -0.000186 | 0 | 0.000119 | 0.0002 | 0.000434 | 0.000632 | 0.000654 | 0.000611 | 0.000706 | 0.00093 | 0.001271 | 0.001533 | 0.001613 | 0.0019 | 0.001831
0.002126 | 0.001633 | 0.001147 | 0.001068 | 0.001084 | 0.001078 | 0.001005 | 0.000915 | 0.000791 | 0.000476 | -2.9e-05 | -0.000602 | -0.000746 | -0.001028 | -0.001052 | -0.000985 | -0.000981 | -0.001036 | -0.001058 | -0.000908 | -0.000775 | -0.000654 | -0.00046 | -0.000147 | 0 | 0.000136 | 0.000241 | 0.000495 | 0.000718 | 0.000778 | 0.000788 | 0.000967 | 0.001188 | 0.001547 | 0.00183 | 0.001922 | 0.002232 | 0.002207
0.002121 | 0.001507 | 0.000952 | 0.000859 | 0.000947 | 0.001023 | 0.000966 | 0.000883 | 0.000688 | 0.000391 | -0.000159 | -0.000736 | -0.000846 | -0.001093 | -0.001048 | -0.000926 | -0.000889 | -0.000971 | -0.000984 | -0.000866 | -0.000724 | -0.000633 | -0.000457 | -0.00018 | 0 | 0.000128 | 0.000227 | 0.000468 | 0.000712 | 0.000782 | 0.00085 | 0.00104 | 0.001337 | 0.001793 | 0.002126 | 0.002254 | 0.002585 | 0.002538
0.002151 | 0.001607 | 0.001154 | 0.001052 | 0.001008 | 0.000961 | 0.000825 | 0.000756 | 0.000583 | 0.000276 | -0.000291 | -0.000853 | -0.000931 | -0.00114 | -0.001091 | -0.00101 | -0.001023 | -0.001089 | -0.001111 | -0.000963 | -0.000807 | -0.000672 | -0.000471 | -0.000181 | 0 | 0.000101 | 0.000216 | 0.000492 | 0.000748 | 0.000869 | 0.000992 | 0.001266 | 0.001626 | 0.00211 | 0.002465 | 0.002594 | 0.00295 | 0.002925
0.002132 | 0.001542 | 0.000984 | 0.000891 | 0.000893 | 0.000944 | 0.000896 | 0.000842 | 0.000696 | 0.000397 | -0.00012 | -0.000716 | -0.000877 | -0.001161 | -0.001178 | -0.001081 | -0.001103 | -0.001168 | -0.001146 | -0.000977 | -0.000829 | -0.0007 | -0.000509 | -0.000174 | 0 | 0.000117 | 0.000235 | 0.000507 | 0.000776 | 0.000937 | 0.001075 | 0.001406 | 0.00182 | 0.002329 | 0.002729 | 0.002903 | 0.003269 | 0.003254
0.002043 | 0.00149 | 0.000931 | 0.000855 | 0.000909 | 0.000891 | 0.00076 | 0.00071 | 0.000554 | 0.000246 | -0.000257 | -0.000768 | -0.000897 | -0.00112 | -0.001056 | -0.000945 | -0.000897 | -0.000935 | -0.000969 | -0.000857 | -0.000726 | -0.000629 | -0.000457 | -0.000182 | 0 | 0.00013 | 0.000294 | 0.000567 | 0.000846 | 0.000993 | 0.001169 | 0.001527 | 0.001975 | 0.002531 | 0.002988 | 0.003182 | 0.003561 | 0.003542
0.00178 | 0.001061 | 0.0005 | 0.000427 | 0.000413 | 0.000403 | 0.000364 | 0.000343 | 0.000215 | -4.6e-05 | -0.000593 | -0.001176 | -0.001238 | -0.001472 | -0.001413 | -0.001267 | -0.001255 | -0.001272 | -0.001281 | -0.00106 | -0.000891 | -0.000733 | -0.00053 | -0.000181 | 0 | 6.6e-05 | 0.000167 | 0.000366 | 0.000657 | 0.000806 | 0.001005 | 0.001406 | 0.001874 | 0.002468 | 0.002934 | 0.003147 | 0.003543 | 0.003524
0.002009 | 0.001438 | 0.000628 | 0.00049 | 0.000555 | 0.000537 | 0.000442 | 0.000438 | 0.000306 | -2.9e-05 | -0.000509 | -0.001011 | -0.00122 | -0.001448 | -0.001355 | -0.001235 | -0.001159 | -0.001173 | -0.001159 | -0.001059 | -0.000842 | -0.000697 | -0.000476 | -0.000161 | 0 | 0.00015 | 0.000315 | 0.000553 | 0.000638 | 0.000779 | 0.000995 | 0.00139 | 0.001914 | 0.002537 | 0.00297 | 0.003181 | 0.003603 | 0.003634
0.002063 | 0.001271 | 0.000621 | 0.000493 | 0.000441 | 0.000447 | 0.000405 | 0.000388 | 0.000301 | -1e-06 | -0.000544 | -0.001136 | -0.001208 | -0.001415 | -0.001358 | -0.001228 | -0.001196 | -0.001269 | -0.001209 | -0.00104 | -0.000847 | -0.00068 | -0.000464 | -0.000138 | 0 | 8.9e-05 | 0.000121 | 0.000336 | 0.000644 | 0.000808 | 0.001013 | 0.001409 | 0.001895 | 0.002541 | 0.003017 | 0.003221 | 0.003654 | 0.003668
0.00207 | 0.001418 | 0.000788 | 0.000658 | 0.000648 | 0.000669 | 0.000608 | 0.000558 | 0.000423 | 0.000156 | -0.000391 | -0.000958 | -0.001027 | -0.001262 | -0.001192 | -0.00103 | -0.001007 | -0.00109 | -0.001058 | -0.000935 | -0.000791 | -0.000663 | -0.000508 | -0.000226 | 0 | 0.000104 | 0.000232 | 0.000478 | 0.00077 | 0.000891 | 0.001082 | 0.001467 | 0.001931 | 0.002556 | 0.003035 | 0.003264 | 0.003723 | 0.00372
0.002061 | 0.001444 | 0.000818 | 0.000602 | 0.000655 | 0.000688 | 0.00064 | 0.000606 | 0.000471 | 0.000161 | -0.000386 | -0.000945 | -0.001043 | -0.00128 | -0.001289 | -0.001233 | -0.001192 | -0.001235 | -0.001218 | -0.001058 | -0.000851 | -0.000713 | -0.000519 | -0.00016 | 0 | 0.0001 | 0.000194 | 0.000476 | 0.000739 | 0.000869 | 0.001035 | 0.001383 | 0.001874 | 0.002495 | 0.002963 | 0.003198 | 0.003648 | 0.003669
0.002203 | 0.001609 | 0.000916 | 0.000717 | 0.000621 | 0.000595 | 0.000525 | 0.00048 | 0.00038 | 0.000122 | -0.000378 | -0.000933 | -0.001057 | -0.001321 | -0.001288 | -0.001134 | -0.001137 | -0.001179 | -0.001119 | -0.000974 | -0.0008 | -0.00067 | -0.000495 | -0.000167 | 0 | 8.3e-05 | 0.000214 | 0.000439 | 0.000672 | 0.000769 | 0.000891 | 0.00125 | 0.001658 | 0.002256 | 0.002714 | 0.002932 | 0.003412 | 0.003446
0.002161 | 0.001435 | 0.00082 | 0.000673 | 0.000703 | 0.000771 | 0.000754 | 0.000689 | 0.000584 | 0.000281 | -0.000275 | -0.000875 | -0.000912 | -0.001155 | -0.001098 | -0.000964 | -0.000932 | -0.00101 | -0.001017 | -0.000857 | -0.0007 | -0.000579 | -0.000429 | -0.000157 | 0 | 0.000109 | 0.000184 | 0.000366 | 0.000607 | 0.000692 | 0.00084 | 0.001128 | 0.001559 | 0.002152 | 0.002617 | 0.00284 | 0.003292 | 0.003355
0.002182 | 0.001599 | 0.000961 | 0.000819 | 0.000807 | 0.00082 | 0.000735 | 0.000678 | 0.000571 | 0.000321 | -0.000224 | -0.000769 | -0.000872 | -0.001109 | -0.001087 | -0.000991 | -0.000983 | -0.001063 | -0.001072 | -0.000907 | -0.000743 | -0.000622 | -0.000429 | -0.000161 | 0 | 5.8e-05 | 0.000134 | 0.000328 | 0.000547 | 0.000599 | 0.000681 | 0.000953 | 0.001336 | 0.001888 | 0.00231 | 0.00251 | 0.002996 | 0.003046
0.002548 | 0.001894 | 0.001322 | 0.001228 | 0.001226 | 0.001323 | 0.001337 | 0.001384 | 0.001264 | 0.000942 | 0.000352 | -0.000316 | -0.000472 | -0.000765 | -0.000732 | -0.000661 | -0.000688 | -0.000777 | -0.000808 | -0.000697 | -0.00059 | -0.000503 | -0.000396 | -0.000141 | 0 | 2.9e-05 | 5.8e-05 | 0.000174 | 0.00034 | 0.000353 | 0.000423 | 0.000679 | 0.001034 | 0.001591 | 0.002007 | 0.002193 | 0.002666 | 0.002739
0.002828 | 0.002144 | 0.001431 | 0.001188 | 0.001211 | 0.001163 | 0.001043 | 0.000956 | 0.000813 | 0.000506 | -6.5e-05 | -0.000609 | -0.000679 | -0.000872 | -0.000801 | -0.000685 | -0.000684 | -0.000795 | -0.000816 | -0.000692 | -0.000581 | -0.000504 | -0.000393 | -0.000121 | 0 | 4.6e-05 | 3.9e-05 | 0.000156 | 0.000329 | 0.000344 | 0.000375 | 0.00056 | 0.000911 | 0.001422 | 0.001819 | 0.002021 | 0.002504 | 0.002553
0.002457 | 0.001944 | 0.001355 | 0.001238 | 0.001198 | 0.001202 | 0.001176 | 0.001178 | 0.001063 | 0.000775 | 0.000279 | -0.000302 | -0.000411 | -0.000679 | -0.00068 | -0.000599 | -0.000652 | -0.000765 | -0.000782 | -0.000674 | -0.000562 | -0.000444 | -0.000317 | -9.4e-05 | 0 | 1e-06 | 2e-05 | 0.000127 | 0.000239 | 0.000229 | 0.000224 | 0.000433 | 0.000699 | 0.001182 | 0.001542 | 0.001718 | 0.002176 | 0.002234
0.002987 | 0.002272 | 0.001634 | 0.001495 | 0.00154 | 0.001621 | 0.001624 | 0.00162 | 0.001472 | 0.001105 | 0.000558 | -0.000116 | -0.000246 | -0.00053 | -0.000447 | -0.000335 | -0.000381 | -0.000484 | -0.000526 | -0.000448 | -0.000371 | -0.00033 | -0.000302 | -1.5e-05 | 0 | -1.3e-05 | -3.9e-05 | -1.7e-05 | 0.000105 | 6.1e-05 | 4.1e-05 | 0.000162 | 0.0004 | 0.000857 | 0.001208 | 0.001349 | 0.001852 | 0.001901
0.002743 | 0.002209 | 0.00166 | 0.001522 | 0.001617 | 0.001626 | 0.001513 | 0.001448 | 0.00135 | 0.001133 | 0.000509 | -2.1e-05 | -6.2e-05 | -0.000215 | -0.000266 | -0.000181 | -0.000242 | -0.000415 | -0.000495 | -0.000436 | -0.000363 | -0.00035 | -0.00025 | -9.9e-05 | 0 | -5.5e-05 | -0.000114 | -6.2e-05 | 1.1e-05 | -0.0001 | -0.000124 | -8.8e-05 | 0.000135 | 0.000558 | 0.000865 | 0.001046 | 0.001504 | 0.001587
0.003269 | 0.002743 | 0.002136 | 0.002032 | 0.001953 | 0.001993 | 0.001986 | 0.001984 | 0.0019 | 0.001581 | 0.001075 | 0.000421 | 0.000213 | -0.000113 | -9e-05 | -1.7e-05 | -0.000117 | -0.000294 | -0.000344 | -0.000239 | -0.000242 | -0.000238 | -0.000181 | -9e-06 | 0 | -8.2e-05 | -0.00015 | -0.000163 | -0.000154 | -0.00023 | -0.00036 | -0.000258 | -9.8e-05 | 0.000219 | 0.000518 | 0.000606 | 0.001085 | 0.001201
0.003568 | 0.002862 | 0.002269 | 0.002157 | 0.00223 | 0.002351 | 0.002343 | 0.002315 | 0.002148 | 0.001787 | 0.001114 | 0.000442 | 0.000402 | 0.000118 | 0.000186 | 0.000278 | 0.000277 | 5.6e-05 | -9.8e-05 | -9.9e-05 | -8e-05 | -0.000126 | -0.00016 | 2e-05 | 0 | -7.7e-05 | -0.000257 | -0.000315 | -0.000298 | -0.000411 | -0.00055 | -0.000612 | -0.000506 | -0.000158 | 0.000106 | 0.000185 | 0.000697 | 0.000707
0.003716 | 0.003249 | 0.002679 | 0.002581 | 0.002568 | 0.002496 | 0.002365 | 0.00233 | 0.002175 | 0.001933 | 0.001403 | 0.00084 | 0.000719 | 0.000504 | 0.000456 | 0.000437 | 0.000286 | 0.000101 | -8.1e-05 | -0.000107 | -0.000113 | -0.000149 | -0.000117 | -5.6e-05 | 0 | -0.00015 | -0.000298 | -0.000379 | -0.000407 | -0.000565 | -0.000716 | -0.000779 | -0.000711 | -0.000397 | -0.000171 | -8.2e-05 | 0.000367 | 0.000393
0.004323 | 0.003692 | 0.003043 | 0.002875 | 0.002836 | 0.002968 | 0.002943 | 0.002958 | 0.002868 | 0.002467 | 0.001828 | 0.001094 | 0.000888 | 0.000532 | 0.000555 | 0.000614 | 0.000531 | 0.000319 | 0.000179 | 0.000177 | 7.3e-05 | 7e-05 | 9e-06 | 0.00013 | 0 | -0.000156 | -0.000323 | -0.000424 | -0.000422 | -0.00064 | -0.000818 | -0.000874 | -0.000861 | -0.000595 | -0.000404 | -0.000349 | 8.8e-05 | 0.000187
0.004382 | 0.003707 | 0.003133 | 0.002975 | 0.003061 | 0.003065 | 0.003009 | 0.002852 | 0.002643 | 0.002299 | 0.001595 | 0.001004 | 0.000917 | 0.000645 | 0.0007 | 0.000713 | 0.00067 | 0.00037 | 0.000194 | 0.000204 | 0.000131 | 2.8e-05 | -9.7e-05 | 6e-05 | 0 | -0.00014 | -0.00037 | -0.000502 | -0.000581 | -0.000748 | -0.000977 | -0.001175 | -0.00116 | -0.00086 | -0.000698 | -0.000659 | -0.000175 | -7.8e-05
0.004276 | 0.003849 | 0.003254 | 0.003135 | 0.002982 | 0.002915 | 0.002815 | 0.002813 | 0.002677 | 0.0024 | 0.001855 | 0.001177 | 0.001022 | 0.000752 | 0.000653 | 0.000662 | 0.000508 | 0.000243 | 0.000132 | 7e-05 | 7e-05 | 3.3e-05 | -5.1e-05 | 7.1e-05 | 0 | -0.000206 | -0.000394 | -0.00051 | -0.000616 | -0.000779 | -0.00098 | -0.001101 | -0.00112 | -0.000927 | -0.000804 | -0.000727 | -0.000315 | -0.000226
0.004645 | 0.003874 | 0.003176 | 0.003002 | 0.003015 | 0.003152 | 0.003137 | 0.00313 | 0.002976 | 0.002491 | 0.001826 | 0.001069 | 0.000888 | 0.000514 | 0.000585 | 0.000685 | 0.000654 | 0.000431 | 0.000281 | 0.000206 | 0.000201 | 6.5e-05 | -6e-06 | 0.00011 | 0 | -0.000245 | -0.000425 | -0.000582 | -0.000616 | -0.000833 | -0.001139 | -0.001213 | -0.001282 | -0.001077 | -0.000903 | -0.000926 | -0.000455 | -0.000425
0.004156 | 0.003613 | 0.003097 | 0.002955 | 0.003047 | 0.003035 | 0.002925 | 0.002762 | 0.002602 | 0.002298 | 0.001666 | 0.001096 | 0.000999 | 0.000832 | 0.000747 | 0.000738 | 0.000625 | 0.000419 | 0.000155 | 0.000161 | 0.000143 | 5.6e-05 | -5e-05 | 6.4e-05 | 0 | -8.8e-05 | -0.000396 | -0.000499 | -0.000552 | -0.000744 | -0.000981 | -0.001223 | -0.001245 | -0.000995 | -0.000891 | -0.00086 | -0.000386 | -0.00041
0.004436 | 0.003958 | 0.003337 | 0.003181 | 0.003064 | 0.003058 | 0.002937 | 0.002992 | 0.002866 | 0.00257 | 0.001965 | 0.001192 | 0.001031 | 0.000648 | 0.000581 | 0.000582 | 0.000482 | 0.000202 | 0.000141 | 7e-05 | 9e-05 | -6e-06 | -4.4e-05 | 8.5e-05 | 0 | -0.000243 | -0.000372 | -0.000495 | -0.000568 | -0.000735 | -0.001034 | -0.001162 | -0.001213 | -0.001093 | -0.000959 | -0.000894 | -0.000496 | -0.000363
0.004972 | 0.004154 | 0.003428 | 0.003274 | 0.003331 | 0.003465 | 0.003422 | 0.003314 | 0.003087 | 0.002655 | 0.001893 | 0.001146 | 0.000965 | 0.000678 | 0.000706 | 0.000745 | 0.00078 | 0.000471 | 0.000242 | 0.000244 | 0.000177 | 4e-05 | -5.2e-05 | 5e-05 | 0 | -0.000147 | -0.000352 | -0.000494 | -0.000489 | -0.000687 | -0.000948 | -0.001167 | -0.001223 | -0.001034 | -0.000882 | -0.000891 | -0.000372 | -0.000321
0.004159 | 0.00369 | 0.003205 | 0.003039 | 0.003047 | 0.002981 | 0.002825 | 0.002825 | 0.002629 | 0.002327 | 0.001752 | 0.001179 | 0.001106 | 0.000856 | 0.000763 | 0.000736 | 0.000574 | 0.000312 | 7.6e-05 | 0.000117 | 5.1e-05 | -3.6e-05 | -3.1e-05 | 0.000123 | 0 | -8.1e-05 | -0.00025 | -0.00031 | -0.000364 | -0.000524 | -0.000783 | -0.000999 | -0.001001 | -0.000816 | -0.000714 | -0.000618 | -0.000196 | -0.000158
0.004453 | 0.003832 | 0.003153 | 0.002997 | 0.002908 | 0.002936 | 0.00293 | 0.002986 | 0.002894 | 0.002442 | 0.001825 | 0.001021 | 0.000764 | 0.000406 | 0.000391 | 0.000464 | 0.000349 | 0.00014 | 4.4e-05 | 6e-06 | 2.1e-05 | -1.3e-05 | -9.2e-05 | 0.000107 | 0 | -0.000167 | -0.000308 | -0.000316 | -0.000319 | -0.000538 | -0.000755 | -0.000878 | -0.000951 | -0.00079 | -0.000679 | -0.000611 | -0.000184 | -8.7e-05
0.00407 | 0.003394 | 0.00284 | 0.002761 | 0.002883 | 0.003026 | 0.002959 | 0.002762 | 0.00253 | 0.002143 | 0.001448 | 0.000841 | 0.000765 | 0.000493 | 0.000559 | 0.00057 | 0.000607 | 0.000351 | 6.3e-05 | 9.4e-05 | 7.9e-05 | -6.3e-05 | -0.000101 | 6.2e-05 | 0 | -8.3e-05 | -0.000301 | -0.000392 | -0.000346 | -0.000484 | -0.000764 | -0.000923 | -0.000985 | -0.000704 | -0.00066 | -0.000613 | -0.000118 | -7.1e-05
0.003386 | 0.003029 | 0.00257 | 0.002518 | 0.002495 | 0.002438 | 0.002291 | 0.002335 | 0.002201 | 0.001965 | 0.001428 | 0.000764 | 0.000712 | 0.000388 | 0.000336 | 0.000341 | 0.000167 | -0.000143 | -0.000136 | -0.000174 | -0.000177 | -0.000175 | -0.000143 | -1.3e-05 | 0 | -0.000121 | -0.000291 | -0.000289 | -0.000311 | -0.000421 | -0.000708 | -0.000761 | -0.000848 | -0.00069 | -0.000573 | -0.000499 | -2.9e-05 | 3.7e-05
0.003809 | 0.003156 | 0.002555 | 0.002486 | 0.002491 | 0.002637 | 0.002668 | 0.002714 | 0.002611 | 0.002069 | 0.001418 | 0.000663 | 0.000442 | 0.000166 | 0.0003 | 0.000409 | 0.000309 | 0.000127 | 1.9e-05 | 4.7e-05 | 1.2e-05 | -6.3e-05 | -0.000101 | 6.9e-05 | 0 | -0.000101 | -0.000206 | -0.00024 | -0.000213 | -0.000398 | -0.000599 | -0.000741 | -0.000753 | -0.000636 | -0.000514 | -0.00048 | 7e-06 | 9.8e-05
0.002949 | 0.002514 | 0.002112 | 0.002162 | 0.002346 | 0.002455 | 0.002391 | 0.002237 | 0.002038 | 0.001736 | 0.001171 | 0.000619 | 0.000547 | 0.000385 | 0.000292 | 0.000367 | 0.000361 | 9.6e-05 | -0.000198 | -9.6e-05 | -0.000124 | -0.000192 | -0.000241 | -1e-06 | 0 | -7.2e-05 | -0.000219 | -0.000249 | -0.000191 | -0.000324 | -0.000553 | -0.000707 | -0.000771 | -0.000525 | -0.00038 | -0.000384 | 5.5e-05 | 0.000204
0.002781 | 0.002499 | 0.00202 | 0.00198 | 0.001939 | 0.001968 | 0.001932 | 0.002015 | 0.001908 | 0.001707 | 0.001097 | 0.000439 | 0.000285 | -8e-06 | 3e-06 | -1.3e-05 | -0.000103 | -0.00023 | -0.000366 | -0.000335 | -0.000284 | -0.000289 | -0.000253 | 1e-05 | 0 | -0.000175 | -0.000288 | -0.000242 | -0.000261 | -0.000342 | -0.000582 | -0.000657 | -0.000726 | -0.0005 | -0.000474 | -0.000333 | 8.7e-05 | 0.000208
0.00051 | 6.2e-05 | -4.7e-05 | 0.000168 | 0.000556 | 0.000949 | 0.001177 | 0.00113 | 0.000933 | 0.000388 | -0.000329 | -0.001018 | -0.000928 | -0.001117 | -0.000801 | -0.000515 | -0.00023 | -0.000421 | -0.000544 | -0.000304 | -0.000356 | -0.000309 | -0.000398 | -1e-05 | 0 | -0.000119 | -4e-06 | 5.4e-05 | 0.00021 | 6.6e-05 | -0.000172 | -0.000329 | -0.000196 | -0.000105 | 2.2e-05 | -6.1e-05 | 0.000241 | 0.000142

## 141_CC_taarray
-0.080123 | -0.080762 | -0.081097 | -0.080083 | -0.076641 | -0.076468 | -0.071665 | -0.067922 | -0.064075 | -0.05747 | -0.056064 | -0.052475 | -0.048962 | -0.045918 | -0.043845 | -0.038283 | -0.036712 | -0.030831 | -0.027237 | -0.025878 | -0.021826 | -0.013009 | -0.010411 | -0.002679 | 0 | 0.003608 | 0.008519 | 0.011572 | 0.017678 | 0.022776 | 0.024338 | 0.03298 | 0.038132 | 0.042285 | 0.049027 | 0.056789 | 0.064454 | 0.064291
-0.074303 | -0.07268 | -0.071558 | -0.071272 | -0.069746 | -0.068698 | -0.065141 | -0.059643 | -0.055625 | -0.052324 | -0.050347 | -0.045531 | -0.044216 | -0.042372 | -0.040521 | -0.035686 | -0.03579 | -0.029401 | -0.025051 | -0.023918 | -0.019375 | -0.012509 | -0.008336 | -0.00419 | 0 | 0.00259 | 0.006878 | 0.009583 | 0.014241 | 0.018762 | 0.021102 | 0.028722 | 0.033233 | 0.03764 | 0.042006 | 0.047106 | 0.052819 | 0.053381
-0.044189 | -0.044554 | -0.043562 | -0.04343 | -0.041779 | -0.04047 | -0.038023 | -0.034367 | -0.03274 | -0.030081 | -0.030906 | -0.028662 | -0.027915 | -0.026259 | -0.024103 | -0.021759 | -0.020995 | -0.017507 | -0.013969 | -0.013205 | -0.010666 | -0.006567 | -0.004686 | -0.000714 | 0 | 0.002837 | 0.0047 | 0.006104 | 0.009719 | 0.012619 | 0.012895 | 0.017821 | 0.01987 | 0.023029 | 0.026366 | 0.02924 | 0.032234 | 0.032902
-0.013022 | -0.012939 | -0.012674 | -0.01298 | -0.012862 | -0.013358 | -0.012302 | -0.011618 | -0.011261 | -0.009838 | -0.010288 | -0.009496 | -0.008665 | -0.008134 | -0.008938 | -0.008071 | -0.009127 | -0.007276 | -0.005075 | -0.005914 | -0.00433 | -0.002145 | -0.001314 | -1.3e-05 | 0 | 0.001529 | 0.001242 | 0.001483 | 0.002776 | 0.004112 | 0.00302 | 0.006102 | 0.007146 | 0.00779 | 0.009244 | 0.01032 | 0.01147 | 0.011264
0.009106 | 0.008931 | 0.008502 | 0.007634 | 0.00693 | 0.006317 | 0.006177 | 0.006505 | 0.006201 | 0.006155 | 0.005088 | 0.004398 | 0.003168 | 0.002309 | 0.001802 | 0.001868 | 0.000701 | 0.001398 | 0.001555 | 6e-05 | 0.00087 | 0.001176 | 0.00035 | 0.000699 | 0 | -0.001022 | -0.00136 | -0.002469 | -0.002716 | -0.002566 | -0.00473 | -0.00383 | -0.003944 | -0.004416 | -0.005557 | -0.00526 | -0.006682 | -0.006553
0.026218 | 0.025152 | 0.024206 | 0.022923 | 0.022152 | 0.021009 | 0.020056 | 0.019612 | 0.018433 | 0.01715 | 0.015594 | 0.014233 | 0.013149 | 0.012106 | 0.010946 | 0.010081 | 0.00764 | 0.007904 | 0.007062 | 0.005164 | 0.00396 | 0.003964 | 0.002198 | 0.001641 | 0 | -0.001243 | -0.002891 | -0.004016 | -0.004686 | -0.005879 | -0.008374 | -0.008716 | -0.009874 | -0.011192 | -0.01261 | -0.013511 | -0.016072 | -0.016762
0.030488 | 0.030289 | 0.029301 | 0.028036 | 0.026474 | 0.02511 | 0.024086 | 0.022927 | 0.021515 | 0.020551 | 0.018832 | 0.017907 | 0.016005 | 0.015257 | 0.012914 | 0.011631 | 0.009557 | 0.009704 | 0.0085 | 0.006436 | 0.005399 | 0.004513 | 0.003186 | 0.00231 | 0 | -0.001523 | -0.003518 | -0.005688 | -0.006983 | -0.009061 | -0.011439 | -0.012661 | -0.013958 | -0.015899 | -0.017423 | -0.019281 | -0.022036 | -0.022853
0.033586 | 0.032839 | 0.031572 | 0.030246 | 0.028748 | 0.027221 | 0.026247 | 0.025378 | 0.023766 | 0.022569 | 0.020488 | 0.018951 | 0.017367 | 0.015839 | 0.014421 | 0.013099 | 0.011172 | 0.010193 | 0.009113 | 0.006997 | 0.005723 | 0.004801 | 0.003232 | 0.002373 | 0 | -0.001719 | -0.003813 | -0.005549 | -0.00714 | -0.00874 | -0.011603 | -0.013008 | -0.014698 | -0.016065 | -0.01819 | -0.020054 | -0.022935 | -0.023229
0.032203 | 0.031396 | 0.030305 | 0.029027 | 0.027926 | 0.026431 | 0.025322 | 0.024263 | 0.022498 | 0.021559 | 0.019703 | 0.018499 | 0.01693 | 0.015646 | 0.014189 | 0.012779 | 0.010896 | 0.01005 | 0.008799 | 0.006734 | 0.005473 | 0.004857 | 0.003118 | 0.001919 | 0 | -0.00153 | -0.003693 | -0.005997 | -0.007491 | -0.009275 | -0.011906 | -0.01335 | -0.015173 | -0.016815 | -0.018745 | -0.020526 | -0.023333 | -0.024019
0.030162 | 0.029743 | 0.028944 | 0.027425 | 0.02612 | 0.02489 | 0.023757 | 0.022527 | 0.021294 | 0.020468 | 0.018874 | 0.017827 | 0.016226 | 0.015026 | 0.013434 | 0.012307 | 0.010113 | 0.009462 | 0.008397 | 0.006742 | 0.005723 | 0.004402 | 0.00309 | 0.00213 | 0 | -0.001467 | -0.003121 | -0.005312 | -0.006882 | -0.008755 | -0.011069 | -0.012582 | -0.014329 | -0.015877 | -0.017781 | -0.019735 | -0.022187 | -0.022769
0.0284 | 0.0277 | 0.026622 | 0.02546 | 0.024398 | 0.023212 | 0.022145 | 0.021501 | 0.020062 | 0.01885 | 0.017389 | 0.016056 | 0.014596 | 0.013467 | 0.012208 | 0.011161 | 0.009491 | 0.008793 | 0.007674 | 0.006001 | 0.004953 | 0.004146 | 0.002798 | 0.001561 | 0 | -0.00168 | -0.003194 | -0.005294 | -0.006826 | -0.008395 | -0.010742 | -0.012106 | -0.013766 | -0.015478 | -0.016916 | -0.018864 | -0.021259 | -0.021623
0.027815 | 0.027136 | 0.026084 | 0.024939 | 0.02398 | 0.022756 | 0.021656 | 0.020639 | 0.019372 | 0.018302 | 0.017006 | 0.015872 | 0.014758 | 0.013589 | 0.01227 | 0.011098 | 0.009486 | 0.008783 | 0.007588 | 0.006174 | 0.005062 | 0.004121 | 0.002786 | 0.001631 | 0 | -0.001239 | -0.003071 | -0.004781 | -0.006293 | -0.007993 | -0.010095 | -0.011476 | -0.013173 | -0.014546 | -0.016077 | -0.017823 | -0.019975 | -0.020197
0.025287 | 0.024763 | 0.02378 | 0.02275 | 0.02152 | 0.020381 | 0.019442 | 0.018702 | 0.017701 | 0.016866 | 0.015567 | 0.014396 | 0.013224 | 0.012247 | 0.011148 | 0.010138 | 0.008493 | 0.007872 | 0.006869 | 0.005451 | 0.00436 | 0.003812 | 0.00232 | 0.001292 | 0 | -0.00129 | -0.002859 | -0.004367 | -0.005817 | -0.007279 | -0.009436 | -0.010616 | -0.012083 | -0.013577 | -0.015044 | -0.016618 | -0.018626 | -0.018875
0.023221 | 0.022543 | 0.021626 | 0.020671 | 0.019756 | 0.018829 | 0.017942 | 0.017164 | 0.016182 | 0.015278 | 0.014031 | 0.012887 | 0.011781 | 0.010991 | 0.01003 | 0.009145 | 0.007928 | 0.007368 | 0.00617 | 0.005065 | 0.004306 | 0.003318 | 0.002191 | 0.001269 | 0 | -0.001339 | -0.002707 | -0.00422 | -0.005606 | -0.006973 | -0.008849 | -0.010055 | -0.011467 | -0.012865 | -0.014166 | -0.015594 | -0.017494 | -0.017774
0.022408 | 0.021804 | 0.020989 | 0.019985 | 0.019097 | 0.017988 | 0.017261 | 0.016302 | 0.015345 | 0.014547 | 0.013468 | 0.012668 | 0.011688 | 0.010837 | 0.009767 | 0.00882 | 0.007625 | 0.007032 | 0.006088 | 0.004954 | 0.003942 | 0.003391 | 0.002217 | 0.00137 | 0 | -0.001092 | -0.00251 | -0.003978 | -0.005385 | -0.006729 | -0.008571 | -0.009612 | -0.010999 | -0.012291 | -0.01357 | -0.014913 | -0.016635 | -0.016855
0.020851 | 0.020167 | 0.019309 | 0.018391 | 0.017511 | 0.016587 | 0.015823 | 0.015078 | 0.014214 | 0.01337 | 0.012487 | 0.011493 | 0.010528 | 0.009724 | 0.008933 | 0.008073 | 0.006979 | 0.006343 | 0.005539 | 0.004461 | 0.0037 | 0.002929 | 0.001925 | 0.001137 | 0 | -0.001173 | -0.00251 | -0.003891 | -0.0052 | -0.006519 | -0.008169 | -0.009396 | -0.010626 | -0.011837 | -0.012941 | -0.014264 | -0.0159 | -0.016021
0.020453 | 0.019705 | 0.018817 | 0.017937 | 0.017117 | 0.016296 | 0.015518 | 0.014718 | 0.013893 | 0.012978 | 0.012036 | 0.011076 | 0.010172 | 0.00956 | 0.008685 | 0.007888 | 0.006813 | 0.006348 | 0.005423 | 0.004526 | 0.003612 | 0.002997 | 0.001952 | 0.001195 | 0 | -0.000921 | -0.002095 | -0.003508 | -0.004811 | -0.006068 | -0.007644 | -0.008699 | -0.009933 | -0.010988 | -0.012066 | -0.013323 | -0.014744 | -0.014928
0.019233 | 0.018659 | 0.01785 | 0.016921 | 0.016134 | 0.015225 | 0.014428 | 0.013765 | 0.012967 | 0.012259 | 0.011393 | 0.01054 | 0.009687 | 0.008893 | 0.008098 | 0.007287 | 0.006223 | 0.005691 | 0.004961 | 0.004046 | 0.003445 | 0.00271 | 0.001821 | 0.001169 | 0 | -0.000897 | -0.00212 | -0.0036 | -0.004829 | -0.006062 | -0.007602 | -0.008699 | -0.009838 | -0.010882 | -0.012007 | -0.013057 | -0.014399 | -0.014506
0.018546 | 0.017852 | 0.017042 | 0.016277 | 0.015491 | 0.01464 | 0.013958 | 0.013293 | 0.012526 | 0.011721 | 0.010924 | 0.009941 | 0.009108 | 0.008306 | 0.007637 | 0.006889 | 0.006023 | 0.005557 | 0.004853 | 0.00406 | 0.003389 | 0.00266 | 0.001819 | 0.001179 | 0 | -0.000917 | -0.001977 | -0.003437 | -0.004677 | -0.005931 | -0.007351 | -0.008388 | -0.009424 | -0.010382 | -0.011445 | -0.012497 | -0.013711 | -0.013902
0.017895 | 0.017239 | 0.016437 | 0.015634 | 0.014913 | 0.014108 | 0.013354 | 0.012674 | 0.011989 | 0.011266 | 0.010434 | 0.009546 | 0.008679 | 0.008079 | 0.007384 | 0.006555 | 0.005833 | 0.005283 | 0.004553 | 0.00375 | 0.003053 | 0.002521 | 0.001665 | 0.001041 | 0 | -0.000847 | -0.001991 | -0.003353 | -0.00451 | -0.005743 | -0.007096 | -0.008143 | -0.009144 | -0.01005 | -0.011011 | -0.012017 | -0.013081 | -0.013287
0.016913 | 0.016333 | 0.015569 | 0.014806 | 0.014087 | 0.013358 | 0.012645 | 0.012001 | 0.011273 | 0.010717 | 0.00996 | 0.009075 | 0.008243 | 0.007532 | 0.006833 | 0.006111 | 0.005265 | 0.004821 | 0.004188 | 0.003507 | 0.002894 | 0.002271 | 0.001506 | 0.00086 | 0 | -0.000882 | -0.001902 | -0.003269 | -0.004488 | -0.005668 | -0.006974 | -0.007941 | -0.008982 | -0.009857 | -0.010765 | -0.01171 | -0.012682 | -0.01271
0.016519 | 0.015903 | 0.015147 | 0.014463 | 0.013853 | 0.013188 | 0.012521 | 0.011951 | 0.011218 | 0.010574 | 0.009803 | 0.008863 | 0.008081 | 0.007385 | 0.006735 | 0.006039 | 0.005375 | 0.00486 | 0.004207 | 0.003498 | 0.002838 | 0.002253 | 0.001534 | 0.000909 | 0 | -0.000753 | -0.001786 | -0.003081 | -0.004282 | -0.005467 | -0.006702 | -0.007685 | -0.008608 | -0.00945 | -0.010335 | -0.011145 | -0.012126 | -0.012172
0.015908 | 0.015366 | 0.014642 | 0.01399 | 0.01335 | 0.012644 | 0.012021 | 0.011357 | 0.010672 | 0.010129 | 0.009402 | 0.008566 | 0.007808 | 0.00717 | 0.006474 | 0.005774 | 0.005008 | 0.004485 | 0.003903 | 0.003217 | 0.002612 | 0.002103 | 0.00131 | 0.000844 | 0 | -0.000663 | -0.001677 | -0.002989 | -0.004111 | -0.005259 | -0.006543 | -0.007402 | -0.008356 | -0.009148 | -0.009935 | -0.010739 | -0.011638 | -0.011573
0.015082 | 0.014556 | 0.013851 | 0.01325 | 0.012582 | 0.011976 | 0.011401 | 0.010854 | 0.010267 | 0.009686 | 0.009042 | 0.008149 | 0.0074 | 0.00673 | 0.006082 | 0.005432 | 0.004682 | 0.004199 | 0.003619 | 0.003006 | 0.00244 | 0.00193 | 0.0013 | 0.000715 | 0 | -0.000738 | -0.001656 | -0.002867 | -0.004026 | -0.005117 | -0.006296 | -0.007209 | -0.008123 | -0.008863 | -0.009663 | -0.010371 | -0.011156 | -0.0112
0.014612 | 0.014067 | 0.013403 | 0.01285 | 0.012307 | 0.011768 | 0.011193 | 0.010706 | 0.010052 | 0.009509 | 0.008864 | 0.007995 | 0.007287 | 0.006641 | 0.006057 | 0.005343 | 0.004676 | 0.00419 | 0.003616 | 0.002973 | 0.002379 | 0.001858 | 0.001222 | 0.000696 | 0 | -0.000699 | -0.001612 | -0.002845 | -0.003991 | -0.005102 | -0.006257 | -0.007168 | -0.00799 | -0.008779 | -0.009478 | -0.010215 | -0.010883 | -0.010982
0.014023 | 0.013593 | 0.012996 | 0.012525 | 0.011986 | 0.011425 | 0.010864 | 0.010333 | 0.009768 | 0.009263 | 0.008661 | 0.00788 | 0.007173 | 0.006552 | 0.00587 | 0.005151 | 0.004449 | 0.003914 | 0.003323 | 0.002815 | 0.00224 | 0.001765 | 0.001186 | 0.000679 | 0 | -0.000652 | -0.001489 | -0.002692 | -0.003779 | -0.004841 | -0.006005 | -0.00683 | -0.007708 | -0.008387 | -0.009086 | -0.009757 | -0.010383 | -0.01033
0.013606 | 0.013104 | 0.012403 | 0.011905 | 0.011346 | 0.010909 | 0.01035 | 0.009941 | 0.009436 | 0.0089 | 0.008328 | 0.007564 | 0.006832 | 0.006189 | 0.005615 | 0.004969 | 0.004285 | 0.003825 | 0.003271 | 0.002721 | 0.002171 | 0.001716 | 0.001171 | 0.000652 | 0 | -0.000648 | -0.001422 | -0.002561 | -0.003638 | -0.004705 | -0.005797 | -0.006648 | -0.00745 | -0.008108 | -0.008787 | -0.009376 | -0.010008 | -0.010057
0.012987 | 0.01252 | 0.011906 | 0.011478 | 0.011001 | 0.010577 | 0.010102 | 0.009616 | 0.009208 | 0.008624 | 0.008046 | 0.00739 | 0.006744 | 0.006172 | 0.005561 | 0.004894 | 0.004237 | 0.003733 | 0.003162 | 0.002615 | 0.002117 | 0.00165 | 0.001112 | 0.000653 | 0 | -0.000596 | -0.001404 | -0.002559 | -0.003624 | -0.004682 | -0.005748 | -0.00659 | -0.007399 | -0.008032 | -0.008665 | -0.009259 | -0.009823 | -0.009813
0.012654 | 0.012263 | 0.011685 | 0.011272 | 0.010759 | 0.010314 | 0.009881 | 0.009446 | 0.009033 | 0.008626 | 0.008118 | 0.00744 | 0.006757 | 0.006142 | 0.005506 | 0.004836 | 0.004161 | 0.003612 | 0.003011 | 0.002546 | 0.001976 | 0.00157 | 0.001034 | 0.000619 | 0 | -0.000556 | -0.001321 | -0.002446 | -0.003462 | -0.004463 | -0.005532 | -0.006346 | -0.007112 | -0.007737 | -0.008341 | -0.008887 | -0.009421 | -0.009377
0.012517 | 0.012032 | 0.011419 | 0.011004 | 0.010501 | 0.010092 | 0.009635 | 0.009229 | 0.008791 | 0.008314 | 0.007798 | 0.007117 | 0.006467 | 0.005878 | 0.005327 | 0.004704 | 0.004036 | 0.003548 | 0.002946 | 0.002472 | 0.001946 | 0.001497 | 0.001049 | 0.000586 | 0 | -0.00055 | -0.001264 | -0.002374 | -0.003397 | -0.004414 | -0.00546 | -0.006277 | -0.007009 | -0.007632 | -0.008205 | -0.008721 | -0.009228 | -0.009157
0.011947 | 0.011529 | 0.010936 | 0.010533 | 0.010079 | 0.009672 | 0.009235 | 0.008795 | 0.008388 | 0.007967 | 0.007504 | 0.006926 | 0.006328 | 0.005822 | 0.005206 | 0.004605 | 0.003906 | 0.003382 | 0.002811 | 0.002338 | 0.001866 | 0.001436 | 0.000934 | 0.000511 | 0 | -0.000514 | -0.001239 | -0.002307 | -0.003313 | -0.004301 | -0.005325 | -0.0061 | -0.006842 | -0.00744 | -0.00799 | -0.008487 | -0.008952 | -0.008916
0.011655 | 0.011264 | 0.010693 | 0.010338 | 0.009844 | 0.009429 | 0.009049 | 0.008684 | 0.008291 | 0.0079 | 0.007455 | 0.006843 | 0.006225 | 0.005689 | 0.005103 | 0.004493 | 0.003804 | 0.003324 | 0.002727 | 0.002269 | 0.001798 | 0.001356 | 0.000925 | 0.000493 | 0 | -0.000547 | -0.001228 | -0.002263 | -0.003265 | -0.004225 | -0.005254 | -0.006036 | -0.006784 | -0.007364 | -0.00792 | -0.008448 | -0.008874 | -0.008842
0.011255 | 0.010841 | 0.010261 | 0.009934 | 0.009549 | 0.009178 | 0.008788 | 0.008419 | 0.008007 | 0.007616 | 0.00714 | 0.006584 | 0.006036 | 0.005526 | 0.005009 | 0.004425 | 0.003791 | 0.003307 | 0.002749 | 0.002269 | 0.001804 | 0.001369 | 0.000904 | 0.000506 | 0 | -0.000502 | -0.001199 | -0.002224 | -0.003191 | -0.004178 | -0.005193 | -0.005992 | -0.006656 | -0.007239 | -0.007794 | -0.008279 | -0.008705 | -0.00867
0.011011 | 0.010623 | 0.010061 | 0.009729 | 0.009283 | 0.008847 | 0.008488 | 0.008058 | 0.007686 | 0.007334 | 0.006917 | 0.006416 | 0.005859 | 0.005362 | 0.00485 | 0.004268 | 0.003666 | 0.003152 | 0.002588 | 0.002139 | 0.001694 | 0.001297 | 0.000875 | 0.000489 | 0 | -0.000463 | -0.001069 | -0.002064 | -0.003016 | -0.003988 | -0.004952 | -0.005744 | -0.006411 | -0.006964 | -0.007515 | -0.007982 | -0.008403 | -0.008369
0.0111 | 0.010651 | 0.010012 | 0.009624 | 0.009157 | 0.008741 | 0.0084 | 0.008 | 0.007649 | 0.007256 | 0.006828 | 0.006249 | 0.005667 | 0.005172 | 0.004681 | 0.00409 | 0.003533 | 0.003031 | 0.002523 | 0.002032 | 0.00162 | 0.001237 | 0.000827 | 0.000455 | 0 | -0.000475 | -0.001091 | -0.002084 | -0.003059 | -0.003983 | -0.004952 | -0.005766 | -0.006427 | -0.006955 | -0.00751 | -0.007999 | -0.008389 | -0.008326
0.01103 | 0.010553 | 0.009911 | 0.009503 | 0.009072 | 0.008647 | 0.00827 | 0.007824 | 0.007444 | 0.007048 | 0.006614 | 0.006042 | 0.005546 | 0.005038 | 0.004576 | 0.003997 | 0.003473 | 0.002972 | 0.002447 | 0.00198 | 0.001596 | 0.001206 | 0.000791 | 0.000439 | 0 | -0.000438 | -0.001058 | -0.002031 | -0.002944 | -0.003908 | -0.004856 | -0.005683 | -0.006318 | -0.006836 | -0.007373 | -0.00785 | -0.00824 | -0.008148
0.010408 | 0.009994 | 0.009423 | 0.009046 | 0.008628 | 0.008201 | 0.007837 | 0.007436 | 0.007076 | 0.006752 | 0.006353 | 0.005811 | 0.005307 | 0.004804 | 0.004331 | 0.003774 | 0.003266 | 0.002774 | 0.00228 | 0.001875 | 0.001475 | 0.001153 | 0.000738 | 0.000408 | 0 | -0.000462 | -0.001014 | -0.001966 | -0.002852 | -0.003782 | -0.0047 | -0.005493 | -0.006125 | -0.00665 | -0.007155 | -0.007599 | -0.007993 | -0.007899
0.00995 | 0.009485 | 0.008881 | 0.00852 | 0.008126 | 0.007749 | 0.007408 | 0.007028 | 0.006671 | 0.006345 | 0.005945 | 0.005374 | 0.004886 | 0.004388 | 0.003993 | 0.003502 | 0.003032 | 0.002614 | 0.002128 | 0.001796 | 0.001403 | 0.001046 | 0.000689 | 0.000397 | 0 | -0.000419 | -0.000934 | -0.001823 | -0.002669 | -0.003522 | -0.004411 | -0.005145 | -0.005761 | -0.006257 | -0.006748 | -0.007209 | -0.007569 | -0.007473
0.009227 | 0.008793 | 0.008252 | 0.007954 | 0.007638 | 0.007239 | 0.006934 | 0.006522 | 0.006189 | 0.005864 | 0.005499 | 0.004977 | 0.004564 | 0.00413 | 0.003737 | 0.003273 | 0.002836 | 0.00242 | 0.00199 | 0.001638 | 0.001283 | 0.001001 | 0.000649 | 0.000346 | 0 | -0.000381 | -0.000854 | -0.001718 | -0.002491 | -0.003314 | -0.004129 | -0.004825 | -0.00541 | -0.005892 | -0.006336 | -0.00677 | -0.007118 | -0.007052
0.008541 | 0.008173 | 0.007652 | 0.007381 | 0.007038 | 0.006634 | 0.00636 | 0.006031 | 0.005706 | 0.005447 | 0.00512 | 0.004628 | 0.004202 | 0.003776 | 0.003416 | 0.002985 | 0.002549 | 0.002194 | 0.001788 | 0.001488 | 0.001156 | 0.000894 | 0.000595 | 0.000342 | 0 | -0.000357 | -0.00078 | -0.001615 | -0.00233 | -0.003047 | -0.003836 | -0.00445 | -0.005 | -0.005469 | -0.005909 | -0.006305 | -0.006642 | -0.006519
0.008094 | 0.00769 | 0.007172 | 0.006913 | 0.006671 | 0.006324 | 0.006066 | 0.005736 | 0.005458 | 0.005167 | 0.004844 | 0.004359 | 0.003966 | 0.003562 | 0.003267 | 0.002877 | 0.002502 | 0.002171 | 0.001786 | 0.001484 | 0.00118 | 0.000877 | 0.000577 | 0.000323 | 0 | -0.000352 | -0.000766 | -0.001519 | -0.002202 | -0.002884 | -0.003629 | -0.004243 | -0.004763 | -0.005175 | -0.005588 | -0.00598 | -0.006287 | -0.006197
0.00657 | 0.006101 | 0.005553 | 0.00526 | 0.004973 | 0.004605 | 0.00437 | 0.004099 | 0.003877 | 0.003697 | 0.003477 | 0.003117 | 0.0029 | 0.00266 | 0.002494 | 0.002208 | 0.001916 | 0.001662 | 0.001402 | 0.001222 | 0.000998 | 0.000775 | 0.000509 | 0.000289 | 0 | -0.000286 | -0.000679 | -0.001533 | -0.00239 | -0.003347 | -0.004341 | -0.005172 | -0.005904 | -0.006507 | -0.007153 | -0.00773 | -0.008154 | -0.008129
0.006492 | 0.006086 | 0.005566 | 0.005265 | 0.004998 | 0.004599 | 0.004358 | 0.004113 | 0.003872 | 0.003701 | 0.00351 | 0.003159 | 0.002927 | 0.002682 | 0.002452 | 0.002148 | 0.001869 | 0.001651 | 0.001375 | 0.001234 | 0.001009 | 0.000765 | 0.000525 | 0.000289 | 0 | -0.000302 | -0.000691 | -0.001516 | -0.002374 | -0.003301 | -0.004243 | -0.005071 | -0.005733 | -0.006343 | -0.006932 | -0.007453 | -0.007876 | -0.007824
0.006425 | 0.005981 | 0.005409 | 0.005115 | 0.004842 | 0.004456 | 0.004199 | 0.003953 | 0.003759 | 0.003582 | 0.0034 | 0.003053 | 0.002794 | 0.00256 | 0.002357 | 0.0021 | 0.001834 | 0.001614 | 0.001397 | 0.001195 | 0.000977 | 0.00075 | 0.000526 | 0.000284 | 0 | -0.000305 | -0.000693 | -0.001497 | -0.002332 | -0.003217 | -0.00416 | -0.004917 | -0.005553 | -0.006067 | -0.006639 | -0.007119 | -0.007529 | -0.007466
0.006577 | 0.006098 | 0.00553 | 0.005209 | 0.004923 | 0.004555 | 0.004294 | 0.004068 | 0.003796 | 0.003619 | 0.003418 | 0.003086 | 0.002838 | 0.002606 | 0.00242 | 0.002141 | 0.001877 | 0.001676 | 0.001415 | 0.001237 | 0.001017 | 0.000777 | 0.000543 | 0.000288 | 0 | -0.000307 | -0.000686 | -0.001491 | -0.002295 | -0.003144 | -0.004016 | -0.004752 | -0.005324 | -0.005778 | -0.006272 | -0.006732 | -0.007101 | -0.007043
0.006265 | 0.005853 | 0.005334 | 0.005042 | 0.004796 | 0.004391 | 0.00415 | 0.003916 | 0.003693 | 0.003533 | 0.003372 | 0.003035 | 0.002763 | 0.002516 | 0.002285 | 0.002051 | 0.001759 | 0.001567 | 0.001294 | 0.001125 | 0.00094 | 0.000701 | 0.000485 | 0.000263 | 0 | -0.000293 | -0.000665 | -0.001431 | -0.002223 | -0.003038 | -0.003842 | -0.004491 | -0.005036 | -0.005451 | -0.005901 | -0.006287 | -0.006648 | -0.006587
0.006422 | 0.005956 | 0.005401 | 0.005064 | 0.004814 | 0.004422 | 0.004149 | 0.003901 | 0.003673 | 0.003473 | 0.003278 | 0.002889 | 0.002613 | 0.002382 | 0.002177 | 0.001966 | 0.001736 | 0.001515 | 0.001279 | 0.001101 | 0.000914 | 0.000696 | 0.000454 | 0.00026 | 0 | -0.000251 | -0.00061 | -0.001354 | -0.002076 | -0.002817 | -0.003578 | -0.004155 | -0.00462 | -0.004981 | -0.005387 | -0.005742 | -0.006047 | -0.005981
0.006228 | 0.005777 | 0.005248 | 0.00495 | 0.004731 | 0.00436 | 0.004088 | 0.003879 | 0.003631 | 0.003444 | 0.003221 | 0.002902 | 0.002603 | 0.002387 | 0.002176 | 0.001927 | 0.001697 | 0.001473 | 0.001246 | 0.001065 | 0.000859 | 0.000675 | 0.000443 | 0.000256 | 0 | -0.000244 | -0.000585 | -0.001319 | -0.001977 | -0.002651 | -0.00331 | -0.003827 | -0.004227 | -0.00453 | -0.004853 | -0.005191 | -0.005476 | -0.005422
0.005842 | 0.005459 | 0.004982 | 0.004708 | 0.004497 | 0.004119 | 0.003848 | 0.003656 | 0.003395 | 0.003182 | 0.003 | 0.002617 | 0.002275 | 0.002079 | 0.001863 | 0.001647 | 0.001427 | 0.001238 | 0.001034 | 0.000904 | 0.000741 | 0.000571 | 0.00039 | 0.000211 | 0 | -0.000246 | -0.00057 | -0.00123 | -0.001873 | -0.002497 | -0.003076 | -0.00351 | -0.003865 | -0.00413 | -0.004414 | -0.004701 | -0.004962 | -0.004866
0.005503 | 0.005108 | 0.004656 | 0.004412 | 0.004271 | 0.003949 | 0.003698 | 0.003512 | 0.003303 | 0.003048 | 0.002801 | 0.002431 | 0.002089 | 0.001893 | 0.001722 | 0.00155 | 0.001359 | 0.001181 | 0.000998 | 0.000827 | 0.000673 | 0.000546 | 0.000362 | 0.000182 | 0 | -0.000219 | -0.000468 | -0.001093 | -0.00165 | -0.002229 | -0.00277 | -0.003128 | -0.003435 | -0.003617 | -0.00389 | -0.004144 | -0.004361 | -0.004299
0.005085 | 0.004743 | 0.004361 | 0.004132 | 0.003985 | 0.003659 | 0.003391 | 0.003207 | 0.002991 | 0.002793 | 0.002606 | 0.002308 | 0.001998 | 0.001821 | 0.001637 | 0.001419 | 0.001243 | 0.00108 | 0.000879 | 0.000766 | 0.000621 | 0.00049 | 0.000338 | 0.00019 | 0 | -0.0002 | -0.000457 | -0.001081 | -0.00161 | -0.002157 | -0.002634 | -0.002945 | -0.003195 | -0.003384 | -0.003605 | -0.003844 | -0.004026 | -0.00398
0.004551 | 0.004253 | 0.00391 | 0.003747 | 0.003633 | 0.003342 | 0.003091 | 0.002914 | 0.002727 | 0.002493 | 0.002323 | 0.001948 | 0.001607 | 0.001385 | 0.00123 | 0.001042 | 0.000923 | 0.000813 | 0.000702 | 0.000626 | 0.000523 | 0.00042 | 0.000313 | 0.000167 | 0 | -0.000185 | -0.000423 | -0.000988 | -0.001522 | -0.002006 | -0.002463 | -0.002732 | -0.002937 | -0.003086 | -0.003287 | -0.003493 | -0.003655 | -0.003581
0.004396 | 0.004029 | 0.003666 | 0.003501 | 0.003431 | 0.003174 | 0.002899 | 0.002747 | 0.002583 | 0.002351 | 0.002136 | 0.001823 | 0.001527 | 0.001277 | 0.001131 | 0.00095 | 0.000829 | 0.000682 | 0.000532 | 0.000432 | 0.000318 | 0.00026 | 0.000158 | 8.8e-05 | 0 | -0.00015 | -0.000375 | -0.000951 | -0.001429 | -0.001893 | -0.002326 | -0.002576 | -0.002758 | -0.002869 | -0.003052 | -0.00323 | -0.003376 | -0.003345
0.004261 | 0.004011 | 0.003724 | 0.003568 | 0.00346 | 0.003169 | 0.002913 | 0.002766 | 0.002612 | 0.002388 | 0.002212 | 0.001923 | 0.001578 | 0.001363 | 0.001195 | 0.000991 | 0.000889 | 0.000774 | 0.000661 | 0.000572 | 0.000469 | 0.000379 | 0.000286 | 0.000186 | 0 | 8e-06 | -0.000111 | -0.000656 | -0.001125 | -0.001584 | -0.001988 | -0.002239 | -0.002433 | -0.002546 | -0.002699 | -0.002872 | -0.003012 | -0.002939
0.003978 | 0.003699 | 0.003437 | 0.00328 | 0.003239 | 0.003038 | 0.002805 | 0.002641 | 0.002479 | 0.002225 | 0.001995 | 0.001645 | 0.001318 | 0.00107 | 0.000938 | 0.000759 | 0.000656 | 0.000564 | 0.000464 | 0.000422 | 0.000327 | 0.00025 | 0.000175 | 8.1e-05 | 0 | -5.9e-05 | -0.000208 | -0.000708 | -0.001187 | -0.001611 | -0.00202 | -0.00226 | -0.002436 | -0.002531 | -0.002704 | -0.00285 | -0.002969 | -0.002914
0.003764 | 0.003495 | 0.003229 | 0.003087 | 0.003054 | 0.002871 | 0.002614 | 0.002473 | 0.002331 | 0.002143 | 0.001919 | 0.001589 | 0.001219 | 0.00092 | 0.000804 | 0.000621 | 0.000507 | 0.000411 | 0.000275 | 0.000264 | 0.000209 | 0.00018 | 0.000114 | 9.6e-05 | 0 | -0.000139 | -0.000307 | -0.000779 | -0.001236 | -0.001681 | -0.002077 | -0.002311 | -0.002502 | -0.002572 | -0.002721 | -0.002867 | -0.002964 | -0.00291
0.003618 | 0.003361 | 0.003111 | 0.003003 | 0.002976 | 0.002794 | 0.002566 | 0.002432 | 0.002308 | 0.002148 | 0.001937 | 0.001616 | 0.0013 | 0.000953 | 0.000813 | 0.000639 | 0.000531 | 0.000493 | 0.000406 | 0.00039 | 0.000294 | 0.00023 | 0.00017 | 9.7e-05 | 0 | -0.0001 | -0.000255 | -0.000726 | -0.001167 | -0.001608 | -0.001993 | -0.002241 | -0.002442 | -0.002516 | -0.002652 | -0.002776 | -0.002902 | -0.002836
0.003512 | 0.003237 | 0.003009 | 0.002911 | 0.002901 | 0.002768 | 0.002535 | 0.002421 | 0.002333 | 0.002156 | 0.001982 | 0.00164 | 0.001299 | 0.000938 | 0.000821 | 0.000631 | 0.000513 | 0.000459 | 0.000328 | 0.000321 | 0.00024 | 0.000198 | 0.000141 | 9.2e-05 | 0 | -9e-05 | -0.000227 | -0.000718 | -0.001133 | -0.001578 | -0.001973 | -0.002222 | -0.002408 | -0.00249 | -0.002642 | -0.002772 | -0.002867 | -0.00279
0.003396 | 0.00316 | 0.003 | 0.002945 | 0.00296 | 0.002844 | 0.002616 | 0.002468 | 0.002349 | 0.002143 | 0.001904 | 0.00154 | 0.001252 | 0.000961 | 0.000819 | 0.000639 | 0.00049 | 0.000426 | 0.000318 | 0.000278 | 0.000213 | 0.000158 | 0.00012 | 8e-05 | 0 | -6.2e-05 | -0.000181 | -0.000653 | -0.001055 | -0.001469 | -0.001831 | -0.002095 | -0.002285 | -0.002383 | -0.002522 | -0.002628 | -0.002724 | -0.002633
0.003272 | 0.003063 | 0.002883 | 0.002793 | 0.002757 | 0.002609 | 0.002359 | 0.002205 | 0.002113 | 0.001949 | 0.00175 | 0.001415 | 0.001118 | 0.00084 | 0.000685 | 0.000521 | 0.000391 | 0.000335 | 0.000257 | 0.000236 | 0.000173 | 0.000132 | 0.000113 | 7.5e-05 | 0 | -0.000119 | -0.000266 | -0.000707 | -0.001127 | -0.001565 | -0.001929 | -0.002209 | -0.002401 | -0.002509 | -0.002635 | -0.002749 | -0.002839 | -0.002745
0.00329 | 0.003013 | 0.00281 | 0.002706 | 0.002706 | 0.002641 | 0.002448 | 0.002298 | 0.002227 | 0.00209 | 0.001852 | 0.001518 | 0.001226 | 0.000924 | 0.000792 | 0.000619 | 0.000456 | 0.000382 | 0.000271 | 0.000231 | 0.000187 | 0.000131 | 9.4e-05 | 6.7e-05 | 0 | -7.9e-05 | -0.000192 | -0.000675 | -0.00107 | -0.001476 | -0.001865 | -0.002143 | -0.002351 | -0.002436 | -0.002584 | -0.002681 | -0.002753 | -0.002692
0.003144 | 0.00291 | 0.002785 | 0.002721 | 0.002708 | 0.002627 | 0.002415 | 0.002253 | 0.002197 | 0.002067 | 0.001887 | 0.001564 | 0.001289 | 0.000983 | 0.00082 | 0.000644 | 0.000464 | 0.000403 | 0.000318 | 0.000269 | 0.000223 | 0.000149 | 8.3e-05 | 5.3e-05 | 0 | -8.2e-05 | -0.000194 | -0.000651 | -0.001055 | -0.001447 | -0.001829 | -0.002085 | -0.002308 | -0.002393 | -0.002537 | -0.002648 | -0.002697 | -0.002614
0.003136 | 0.002914 | 0.002793 | 0.002744 | 0.002769 | 0.002717 | 0.002561 | 0.0024 | 0.002328 | 0.002198 | 0.001983 | 0.001615 | 0.001308 | 0.000991 | 0.00082 | 0.000652 | 0.000478 | 0.000397 | 0.000265 | 0.000241 | 0.000164 | 0.000114 | 9.3e-05 | 5.7e-05 | 0 | -9.9e-05 | -0.000214 | -0.000633 | -0.001035 | -0.001436 | -0.001803 | -0.00207 | -0.002297 | -0.00239 | -0.002517 | -0.002608 | -0.002661 | -0.002593
0.003291 | 0.003037 | 0.0029 | 0.002878 | 0.002888 | 0.002856 | 0.002679 | 0.002512 | 0.002429 | 0.00231 | 0.002111 | 0.001769 | 0.001463 | 0.001174 | 0.000976 | 0.000798 | 0.000622 | 0.000516 | 0.000379 | 0.000315 | 0.000227 | 0.000165 | 0.000112 | 6.1e-05 | 0 | -7.2e-05 | -0.000195 | -0.00061 | -0.000985 | -0.00137 | -0.001754 | -0.002006 | -0.002215 | -0.002306 | -0.002431 | -0.002506 | -0.002548 | -0.002493
0.00319 | 0.002967 | 0.002849 | 0.002811 | 0.002785 | 0.002754 | 0.002583 | 0.002417 | 0.002353 | 0.002258 | 0.002108 | 0.001756 | 0.001471 | 0.001173 | 0.000964 | 0.000784 | 0.000602 | 0.000466 | 0.000336 | 0.000274 | 0.000198 | 0.000173 | 9.8e-05 | 6.6e-05 | 0 | -6.3e-05 | -0.00018 | -0.000596 | -0.00096 | -0.001336 | -0.001694 | -0.001933 | -0.002151 | -0.002239 | -0.002352 | -0.002433 | -0.002473 | -0.002389
0.003211 | 0.002978 | 0.002882 | 0.002867 | 0.0029 | 0.002911 | 0.002773 | 0.002573 | 0.002499 | 0.002398 | 0.00224 | 0.001841 | 0.001547 | 0.001252 | 0.001044 | 0.000863 | 0.000678 | 0.000519 | 0.00041 | 0.000326 | 0.00025 | 0.00017 | 0.000106 | 4.8e-05 | 0 | -8.5e-05 | -0.000195 | -0.000615 | -0.000975 | -0.001324 | -0.001692 | -0.001937 | -0.002151 | -0.002226 | -0.002336 | -0.002393 | -0.002434 | -0.002351
0.003356 | 0.003133 | 0.003055 | 0.003062 | 0.003061 | 0.003066 | 0.00292 | 0.002747 | 0.002671 | 0.002574 | 0.002404 | 0.002043 | 0.001734 | 0.001439 | 0.001212 | 0.000989 | 0.000814 | 0.000642 | 0.000491 | 0.000399 | 0.000285 | 0.000197 | 0.000121 | 7.4e-05 | 0 | -4.7e-05 | -0.000159 | -0.000565 | -0.000927 | -0.001274 | -0.001605 | -0.001873 | -0.002069 | -0.002127 | -0.002229 | -0.002292 | -0.002323 | -0.002239
0.00329 | 0.003072 | 0.002981 | 0.003005 | 0.003021 | 0.003039 | 0.002925 | 0.00276 | 0.002696 | 0.0026 | 0.002481 | 0.002093 | 0.001754 | 0.001469 | 0.001225 | 0.000997 | 0.000808 | 0.000648 | 0.000465 | 0.000405 | 0.000284 | 0.000212 | 0.000147 | 6.3e-05 | 0 | -7.7e-05 | -0.000216 | -0.000625 | -0.000962 | -0.001303 | -0.001636 | -0.00188 | -0.002064 | -0.002125 | -0.002218 | -0.002259 | -0.002295 | -0.002182
0.003554 | 0.003314 | 0.003239 | 0.003284 | 0.003294 | 0.003315 | 0.003209 | 0.003014 | 0.002927 | 0.002848 | 0.002702 | 0.002289 | 0.001961 | 0.001662 | 0.001414 | 0.00117 | 0.000983 | 0.000781 | 0.000586 | 0.000477 | 0.000349 | 0.000261 | 0.000192 | 7.7e-05 | 0 | -7e-05 | -0.000209 | -0.000602 | -0.000935 | -0.00128 | -0.001601 | -0.001848 | -0.002015 | -0.002085 | -0.002149 | -0.002192 | -0.002219 | -0.002125
0.003677 | 0.003447 | 0.003383 | 0.003436 | 0.003405 | 0.003435 | 0.003332 | 0.003179 | 0.003064 | 0.002984 | 0.002848 | 0.002469 | 0.002118 | 0.001823 | 0.001536 | 0.001262 | 0.001067 | 0.000831 | 0.000635 | 0.000541 | 0.000401 | 0.000278 | 0.000183 | 0.000116 | 0 | -5.5e-05 | -0.000181 | -0.0006 | -0.000907 | -0.001225 | -0.001543 | -0.001782 | -0.001923 | -0.001996 | -0.002038 | -0.002091 | -0.002103 | -0.002017
0.003815 | 0.00358 | 0.003511 | 0.003558 | 0.003534 | 0.003563 | 0.003482 | 0.003321 | 0.0032 | 0.003103 | 0.002985 | 0.002575 | 0.002187 | 0.001887 | 0.001612 | 0.001314 | 0.001135 | 0.00089 | 0.00069 | 0.000568 | 0.000425 | 0.000295 | 0.000174 | 9.6e-05 | 0 | -9.9e-05 | -0.000236 | -0.000642 | -0.000932 | -0.001246 | -0.001545 | -0.001761 | -0.001907 | -0.001959 | -0.001992 | -0.002024 | -0.002032 | -0.001937
0.003843 | 0.003604 | 0.003569 | 0.003638 | 0.003635 | 0.003686 | 0.003603 | 0.003433 | 0.003304 | 0.003208 | 0.003084 | 0.002678 | 0.002283 | 0.002001 | 0.001717 | 0.001396 | 0.001206 | 0.000988 | 0.000763 | 0.000644 | 0.000467 | 0.000319 | 0.000211 | 0.000137 | 0 | -5.6e-05 | -0.000224 | -0.000631 | -0.00092 | -0.001209 | -0.001501 | -0.00172 | -0.001861 | -0.001871 | -0.001938 | -0.001934 | -0.00195 | -0.001856
0.003865 | 0.003654 | 0.003614 | 0.003704 | 0.003688 | 0.003711 | 0.003654 | 0.003511 | 0.003403 | 0.003271 | 0.003166 | 0.0028 | 0.002388 | 0.002073 | 0.001778 | 0.001485 | 0.001267 | 0.00104 | 0.000793 | 0.000648 | 0.000512 | 0.000379 | 0.000241 | 0.000142 | 0 | -6.6e-05 | -0.00019 | -0.000607 | -0.000861 | -0.001139 | -0.001403 | -0.001608 | -0.001744 | -0.001749 | -0.001786 | -0.00179 | -0.001808 | -0.001712
0.003745 | 0.003536 | 0.003523 | 0.003647 | 0.003696 | 0.003718 | 0.003686 | 0.003559 | 0.003419 | 0.003306 | 0.003228 | 0.002826 | 0.002428 | 0.002118 | 0.001835 | 0.001505 | 0.001315 | 0.001092 | 0.00084 | 0.000711 | 0.00052 | 0.000375 | 0.000241 | 0.000157 | 0 | -7.5e-05 | -0.000221 | -0.000628 | -0.000897 | -0.001189 | -0.001446 | -0.001615 | -0.001761 | -0.001778 | -0.0018 | -0.001799 | -0.001823 | -0.001716
0.003932 | 0.003724 | 0.003704 | 0.003822 | 0.003824 | 0.003855 | 0.0038 | 0.00367 | 0.00351 | 0.003394 | 0.003327 | 0.002911 | 0.002511 | 0.002192 | 0.001906 | 0.00156 | 0.001324 | 0.001099 | 0.000822 | 0.000689 | 0.000518 | 0.000383 | 0.000242 | 0.000133 | 0 | -0.000104 | -0.000253 | -0.000662 | -0.000925 | -0.001203 | -0.001481 | -0.001672 | -0.001789 | -0.001791 | -0.00182 | -0.00183 | -0.001835 | -0.001726
0.004128 | 0.003917 | 0.003869 | 0.003979 | 0.003957 | 0.003975 | 0.00392 | 0.003818 | 0.003674 | 0.003528 | 0.003433 | 0.003055 | 0.002628 | 0.002291 | 0.00199 | 0.001631 | 0.001401 | 0.001205 | 0.000915 | 0.000747 | 0.000574 | 0.000411 | 0.000301 | 0.000152 | 0 | -8.4e-05 | -0.000242 | -0.000651 | -0.000946 | -0.001203 | -0.001498 | -0.001695 | -0.001806 | -0.00184 | -0.001855 | -0.001883 | -0.001909 | -0.00179
0.004283 | 0.00402 | 0.00392 | 0.00404 | 0.004013 | 0.004021 | 0.003964 | 0.003838 | 0.003683 | 0.003539 | 0.003472 | 0.003072 | 0.002639 | 0.002306 | 0.002059 | 0.001655 | 0.001429 | 0.001236 | 0.00095 | 0.000751 | 0.000607 | 0.000411 | 0.000296 | 0.000152 | 0 | -9.9e-05 | -0.000241 | -0.000647 | -0.000944 | -0.001194 | -0.001495 | -0.001687 | -0.001815 | -0.001823 | -0.001872 | -0.001877 | -0.001923 | -0.001826
0.004045 | 0.003797 | 0.003712 | 0.003828 | 0.003815 | 0.00382 | 0.003807 | 0.003688 | 0.003488 | 0.003386 | 0.003343 | 0.002968 | 0.002565 | 0.00226 | 0.001986 | 0.001654 | 0.001398 | 0.001249 | 0.000924 | 0.000782 | 0.000622 | 0.000455 | 0.000296 | 0.000172 | 0 | -7.4e-05 | -0.000218 | -0.000624 | -0.00089 | -0.001142 | -0.001456 | -0.001676 | -0.001808 | -0.001816 | -0.001874 | -0.001911 | -0.001937 | -0.001802
0.003593 | 0.003371 | 0.003327 | 0.003456 | 0.003424 | 0.003462 | 0.003427 | 0.003356 | 0.003221 | 0.003095 | 0.003083 | 0.00272 | 0.002329 | 0.002021 | 0.001803 | 0.001446 | 0.001252 | 0.001094 | 0.000811 | 0.000651 | 0.000533 | 0.000399 | 0.00026 | 0.000158 | 0 | -6.9e-05 | -0.000211 | -0.00059 | -0.000878 | -0.001142 | -0.001399 | -0.001638 | -0.001756 | -0.001805 | -0.001837 | -0.001897 | -0.001945 | -0.001874
0.00327 | 0.00307 | 0.003036 | 0.003224 | 0.003249 | 0.003297 | 0.003278 | 0.00322 | 0.00309 | 0.002987 | 0.002953 | 0.002629 | 0.002263 | 0.001983 | 0.001782 | 0.001452 | 0.001245 | 0.00109 | 0.000887 | 0.000684 | 0.000547 | 0.000406 | 0.000263 | 0.000117 | 0 | -8.4e-05 | -0.000224 | -0.000623 | -0.000888 | -0.001145 | -0.00147 | -0.001687 | -0.001792 | -0.001835 | -0.00192 | -0.001984 | -0.002026 | -0.001937
0.003233 | 0.003019 | 0.00296 | 0.003131 | 0.003134 | 0.003158 | 0.003182 | 0.003106 | 0.002918 | 0.002894 | 0.002877 | 0.002543 | 0.002197 | 0.001919 | 0.001757 | 0.001384 | 0.001169 | 0.001081 | 0.000852 | 0.000664 | 0.000552 | 0.000394 | 0.000273 | 0.000159 | 0 | -6e-05 | -0.000191 | -0.000591 | -0.000901 | -0.001124 | -0.001423 | -0.001667 | -0.001815 | -0.001839 | -0.001927 | -0.002042 | -0.002076 | -0.001945
0.003103 | 0.002909 | 0.00285 | 0.003029 | 0.003035 | 0.003047 | 0.003078 | 0.003016 | 0.002839 | 0.002768 | 0.002803 | 0.002457 | 0.002124 | 0.001841 | 0.001695 | 0.001351 | 0.001144 | 0.001065 | 0.000797 | 0.000647 | 0.000515 | 0.000388 | 0.00027 | 0.000154 | 0 | -4.6e-05 | -0.000182 | -0.000581 | -0.000863 | -0.001105 | -0.0014 | -0.00164 | -0.00178 | -0.001845 | -0.001943 | -0.002029 | -0.002112 | -0.001987
0.002909 | 0.002721 | 0.002642 | 0.002841 | 0.002867 | 0.002882 | 0.002889 | 0.002873 | 0.002759 | 0.002649 | 0.002703 | 0.002388 | 0.002075 | 0.001828 | 0.001673 | 0.001344 | 0.001147 | 0.001061 | 0.000825 | 0.00061 | 0.000556 | 0.000412 | 0.000249 | 0.000114 | 0 | -6.4e-05 | -0.000229 | -0.000597 | -0.000906 | -0.001178 | -0.001469 | -0.001744 | -0.001853 | -0.001971 | -0.00209 | -0.002165 | -0.002245 | -0.002128
0.002715 | 0.002516 | 0.00246 | 0.002644 | 0.002673 | 0.002719 | 0.002698 | 0.002661 | 0.002522 | 0.002474 | 0.002524 | 0.002251 | 0.001947 | 0.001722 | 0.001547 | 0.00125 | 0.001034 | 0.000974 | 0.000795 | 0.000585 | 0.000504 | 0.000358 | 0.000249 | 0.000195 | 0 | -3e-05 | -0.000216 | -0.000633 | -0.000918 | -0.001196 | -0.001527 | -0.001775 | -0.001884 | -0.001971 | -0.002127 | -0.002205 | -0.002267 | -0.002131
0.002905 | 0.002668 | 0.002573 | 0.002726 | 0.002715 | 0.002751 | 0.002776 | 0.002745 | 0.002598 | 0.002505 | 0.002593 | 0.002276 | 0.001964 | 0.001719 | 0.001633 | 0.001342 | 0.001126 | 0.001079 | 0.000828 | 0.000726 | 0.000492 | 0.000474 | 0.000283 | 0.000205 | 0 | -7e-06 | -0.000201 | -0.000596 | -0.000876 | -0.001136 | -0.001468 | -0.001716 | -0.001904 | -0.001952 | -0.002111 | -0.002198 | -0.002285 | -0.002101