## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
RS03INT1-MJ03C | SN0036 | 1 | 2014-07-20 | 19:01 |  | 45° 55.577' N | 129° 58.735' W | 1521 | TN-313 |  | 45.9263 | -129.9789

## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
RS03INT1-MJ03C-05-CAMDSB303 | SN0036 | 1 | 0102
RS03INT1-MJ03C-06-MASSPA301 | SN0036 | 1 | LTDISMS003
RS03INT1-MJ03C-07-RASFLA301 | SN0036 | 1 | 12881-01
RS03INT1-MJ03C-07-PPSDNA301 | SN0036 | 1 | 12881-04
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_e2l_H | [0.0, 0.0, 0.0, 0.0, 0.9979, -0.10287]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_l2s_H | [9.32483e-7, -0.000122268, 0.00702, -0.23532, 17.06172, 0.0]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_e2l_r | [0.0, 0.0, 0.0, 0.0, 1.04938, -275.5]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_l2s_r | [0.0, 0.0, 8.7755e-08, 0.0, 0.000234101, 0.001129306]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_s2v_r | [5.83124e-14, -4.09038e-11, -3.44498e-8, 5.14528e-5, 0.05841, 0.00209]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_e2l_L | [0.0, 0.0, 0.0, 0.0, 0.9964, -0.46112]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_l2s_L | [9.32483e-7, -0.000122268, 0.00702, -0.23532, 17.06172, 0.0]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_e2l_b | [0.0, 0.0, 0.0, 0.0, 1.04938, -275.5]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_l2s_b | [0.0, 0.0, 8.7755e-08, 0.0, 0.000234101, 0.001129306]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_e2l_ysz | [0.0, 0.0, 0.0, 0.0, 1.0, -0.00375]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_e2l_agcl | [0.0, 0.0, 0.0, 0.0, 1.0, -0.00225]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_hgo | [0.0, 0.0, 4.38978E-10, -1.88519E-07, -1.88232E-04, 9.23720E-01]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_agcl | [0.0, -8.61134E-10, 9.21187E-07, -3.7455E-04, 6.6550E-02, -4.30086]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_tac | [0.0, 0.0, -2.80979E-09, 2.21477E-06, -5.53586E-04, 5.723E-02]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_tbc1 | [0.0, 0.0, -6.59572E-08, 4.52831E-05, -1.204E-02, 1.70059]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_tbc2 | [0.0, 0.0, 8.49102E-08, -6.20293E-05, 1.485E-02, -1.41503]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_tbc3 | [-1.86747E-12, 2.32877E-09, -1.18318E-06, 3.04753E-04, -3.956E-02, 2.2047]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_tbc1 | [0.0, 0.0, -6.59572E-08, 4.52831E-05, -1.204E-02, 1.70059]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_tbc2 | [0.0, 0.0, 8.49102E-08, -6.20293E-05, 1.485E-02, -1.41503]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_tbc3 | [-1.86747E-12, 2.32877E-09, -1.18318E-06, 3.04753E-04, -3.956E-02, 2.2047]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_agclref | [0.0, 0.0, -2.5E-10, -2.5E-08, -2.5E-06, -9.025E-02]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_e2l_hs | [0.0, 0.0, 0.0, 0.0, 1.0, -0.00350]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_logkfh2g | [0.0, 0.0, -1.51904000E-07, 1.16655E-04, -3.435E-02, 6.32102]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_eh2sg | [0.0, 0.0, 0.0, 0.0, -4.49477E-05, -1.228E-02]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_yh2sg | [2.3113E+01, -1.8780E+02, 5.9793E+02, -9.1512E+02, 6.7717E+02, -1.8638E+02]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_e2l_h2 | [0.0, 0.0, 0.0, 0.0, 1.0, -0.00375]
RS03INT1-MJ03C-09-THSPHA301 | SN0036 | 1 | c | CC_arr_logkfh2g | [0.0, 0.0, -1.51904000E-07, 1.16655E-04, -3.435E-02, 6.32102]
RS03INT1-MJ03C-10-TRHPHA301 | SN0036 | 1 | 2 | CC_tc_slope | 4.22e-05
RS03INT1-MJ03C-10-TRHPHA301 | SN0036 | 1 | 2 | CC_ts_slope | 0.003
RS03INT1-MJ03C-10-TRHPHA301 | SN0036 | 1 | 2 | CC_offset | 2004
RS03INT1-MJ03C-10-TRHPHA301 | SN0036 | 1 | 2 | CC_gain | 4